## 1. Asset Hierarchy✅
Level 1 | Level 2 | Level 3 | Level 4 | ESL
B Shell | B10 Superstructure | B1010 Floor Construction | B1012 Upper Floors Construction | 100
|  |  | B1013 Balcony Floors Construction | 100
|  |  | B1014 Ramps | 100
|  |  | B1019 Other Floor Construction | 100
|  | B1020 Roof Construction | B1021 Flat Roof Construction | 60
|  |  | B1022 Pitched Roof Construction | 100
| B20 Exterior Enclosure | B2010 Exterior Walls | B2011 Exterior Wall Construction | 100
|  |  | B2015 Balcony Walls & Handrails | 15
|  |  | B2016 Exterior Soffits" | 20
|  | B2020 Exterior Windows | B2021 Windows | 35
|  |  | B2022 Curtain Walls | 75
|  | B2030 Exterior Doors | B2034 Overhead Doors | 25
|  |  | B2039 Other Doors & Entrances" | 30
| B30 Roofing | B3010 Roof Covering | B3011 Roof Finishes | 50
|  |  | B3013 Roof Insulation & Fill | 50
|  |  | B3016 Gutters and Downspouts" | 20
|  | B3020 Roof Openings | B3021 Glazed Roof Openings | 75
|  |  | B3022 Roof Hatches | 75
|  |  | B3023 Gravity Roof Ventilators" | 20
C Interiors | C10 Interior Construction | C1010 Partitions | C1011 Fixed Partitions | 14
|  |  | C1014 Site-Built Toilet Partitions | 40
|  |  | C1015 Site-Built Compartments Cubicles | 40
|  |  | C1016 Interior Balustrades and Screens | 20
|  |  | C1017 Interior Windows & Storefronts" | 20
|  | C1020 Interior Doors | C1021 Interior Doors | 40
|  |  | C1022 Interior Door Frames | 40
|  |  | C1023 Interior Door Hardware | 20
|  |  | C1027 Door Painting & Decoration" | 24
|  |  | C1031 Fabricated Toilet Partitions | 20
|  | C1030 Fittings | C1032 Fabricated Compartments & Cubicles | 20
|  |  | C1033 Storage Shelving and Lockers | 30
|  |  | C1036 Closet Specialties | 20
| C20 Stairs | C2010 Stair Construction | C2011 Regular Stairs | 100
|  |  | C2014 Stair Handrails and Balustrades | 20
|  | C2020 Stair Finishes | C2021 Stair, Tread, and Landing Finishes | 100
|  |  | C2022 Stair Soffit Finishes | 100
| C30 Interior Finishes | D3010 Energy Supply | D3011 Oil Supply System | 20
|  |  | D3012 Gas Supply System | 50
|  |  | D3015 Hot Water Supply System | 20
|  | D3020 Heat Generating Systems | D3021 Boilers | 30
|  |  | D3024 Insulation | 20
|  | D3030 Cooling Generating Systems | D3032 Direct Expansion Systems | 15
D Services | D40 Fire Protection | D4020 Standpipes | D4021 Standpipe Water Supply | 20
|  |  | D4022 Pumping Equipment | 20
|  |  | D4023 Standpipe Equipment | 20
|  |  | D4024 Fire Hose Equipment | 75
|  | D4030 Fire Protection Specialties | D4031 Fire Extinguishers | 20
| D50 Electrical | D5010 Electrical Service & Distribution | D5012 Low Tension Service & Dist. | 50
|  | D5020 Lighting & Branch Wiring | D5021 Branch Wiring Devices | 20
|  |  | D5022 Lighting Equipment | 15
|  |  | D5033 Telephone Systems | 20
|  |  | D5035 Television Systems | 20
|  | D5030 Communications & Security | D5037 Fire Alarm Systems | 20
|  |  | D5038 Security and Detection Systems | 20
|  |  | D5039 Local Area Networks | 15
|  | D5090 Other Electrical System | D5091 Grounding Systems | 20
|  |  | D5092 Emergency Light & Power Systems | 20
|  |  | D5094 Other Special Systems & Devices | 18
|  |  | D5095 General Construction Items (Elect.) | 20

## 2. Asset Inventory✅
Level 1 | Level 2 | Level 3 | Level 4 | Description | Install Year | Expected service life | Apparent Age | Remaining useful life | Reference for ESL | Material | Size/Qty | Unit | Unit cost | Reference Of Unit Cost | Total cost | Photos | Condition | Condition Rating | Deficiency Observation
B SHELL | B10 Superstructure | B1010 Floor Construction | B1012 Upper Floors Construction | The wooden floors are constructed with wood framing. | 1967 | 100 | 100 | 0 | B101090 OTHER FLOOR CONSTRUCTION Other | carpet | 6542 | SF | 200 | https://www.levelset.com/blog/commercial-construction-cost-per-square-foot/ | 1308400 |  | poor | 1 | The floor is made of wood with certain areas covered with carpet.The floor needed to be replaced as soon as possible because it was uneven, defective in certain areas, and sloppily placed at the margins.
|  |  | B1013 Balcony Floors Construction | The wooden floors are constructed with wood framing. | 1967 | 100 | 100 | 0 | B101005 BALCONY CONSTRUCTION General | wooden | 1492 | SF | 35 | https://www.homeadvisor.com/cost/outdoor-living/build-balcony/ | 52220 |  | poor | 1 | The wooden floor of the balcony was deteriorated in numerous places. The paint that had been applied to the wooden floor appeared to be peeling off of it.
|  |  | B1014 Ramps | Ramp is inclined plateform to connect lower and upper level. | 1967 | 100 | 25 | 75 | B101006 RAMPS General | Wooden | 1 | LF | 10000 | RS Means 15523501100 | 10000 |  | very good | 4 | The ramp that had been built appeared to be well-made and have the right slope. It was composed of wood and covered in carpet.
|  |  | B1019 Other Floor Construction | Flooring is covered with vinyl tiles. | 1967 | 100 | 25 | 75 | B101090 OTHER FLOOR CONSTRUCTION Other | tiles | 5020 | SF | 12 | https://homeguide.com/costs/tile-installation-cost | 60240 |  | very good | 4 | The condition of the flooring is good, just needs some cleaning.
|  | B1020 Roof Construction | B1021 Flat Roof Construction | Roof is flat membrane concrete slab. | 2003 | 60 | 15 | 45 | B102003 ROOF DECKS AND SLABS Deck - Gypsum | concrete | 58968 | SF | 8 | https://www.homeadvisor.com/cost/outdoor-living/concrete-slab/ | 471744 |  | very good | 4 | The roof's floor was laid off quite well throughout and was built of concrete with a gypsum deck
|  |  | B1022 Pitched Roof Construction | Inclined roof was made out of white steel panel for exterior cladding. | 2003 | 100 | 50 | 50 | B101004 INCLINED AND STEPPED FLOORS General | fabric | 1 | EA | 30800 | https://www.buildingsguide.com/metal-building-prices/ | 30800 |  | good | 3 | Ceiling panels consisting of translucent canvas, inside board, coating structure, and suspended acoustic panels were used (2x4). ceiling made of synthetic canvas that is transparent and conceals a lantern
| B20 Exterior Enclosure | B2010 Exterior Walls | B2011 Exterior Wall Construction | Exterior wall are made of concrete blocks. Some of the exterior walls are made of unreinforced brick masonry. | 1967 | 100 | 25 | 75 | B201002 EXTERIOR WALL BACKUP CONSTRUCTION General | concrete | 1345.49 | SF | 100 | https://homeguide.com/costs/precast-poured-concrete-wall-cost | 134549 |  | very good | 4 | The external walls had various issues and were cracked. The paint and other wall coatings came off as well.
|  |  | B2015 Balcony Walls & Handrails | Balcony is equiped with painted steel pipe railing. | 2015 | 15 | 7.5 | 7.5 | B201006 BALCONY WALLS & HANDRAILS General | Metal | 115 | LF | 21.86 | RS Means 102616103010 | 2513.9 |  | good | 3 | The metal handrails on the balcony had some spots of corrosion because they were constructed of metal.
|  |  | B2016 Exterior Soffits" | Exterior aluminium soffits are installed at the entrance of the building. | 2015 | 20 | 0 | 20 | B201007 EXTERIOR SOFFITS General | Aluminium | 115 | LF | 11.08 | RS Means 54223701037 | 1274.2 |  | excellent | 5 | Aluminum made up the external soffit, which was in generally good and respectable condition.
|  | B2020 Exterior Windows | B2021 Windows | Aluminium framed windows are installed at outer periferi of the building. | 2012 | 35 | 0 | 35 | B202001 WINDOWS Aluminum Windows | Aluminium | 150 | EA | 150 | https://www.alibaba.com/product-detail/Door-Glass-Garage-Door-Manufacturers-Customized_1600105738028.html?spm=a2700.pccps_detail.normal_offer.d_image.77f12b3aQHbZLF&s=p | 22500 |  | excellent | 5 | Windows with an aluminium frame were in good shape and of a high calibre.
|  |  | B2022 Curtain Walls | Glass curtain wall frames are fixed at all outer periphery of the building. | 1967 | 75 | 18.75 | 56.25 | B202003 CURTAIN WALLS General | glass | 14800 | LF | 37.3 | RS Means 78413100750 | 552040 |  | very good | 4 | The steel frame single glazing curtain walls with bronze tinted glass were in great condition.
|  | B2030 Exterior Doors | B2034 Overhead Doors | Overhead metal door is installed at the garage entrance. | 2010 | 25 | 12.5 | 12.5 | B203004 OVERHEAD AND ROLL-UP DOORS Steel Rolling | Aluminium | 1 | EA | 1560 | RS Means 83323100050 | 1560 |  | good | 3 | Although the motor was functioning well, the overhead steel rolling garage door was rather noisy when opening.
|  |  | B2039 Other Doors & Entrances" | Framed wooden doors are used at different entrance inside the building. | 2014 | 30 | 7.5 | 22.5 | B203091 OTHER EXTERIOR PERSONNEL DOORS Other | wooden | 125 | EA | 1100 | https://moodle.concordia.ca/moodle/pluginfile.php/5671983/mod_folder/content/0/Canada%20Pavilion/2013_Pavillon%20du%20Canada_Renforcement%20structure_rapports_Cegertec%20Worley%20Parsons_2012-2013%282%29.pdf?forcedownload=1 | 137500 |  | very good | 4 | The exterior glass door was in outstanding condition and operated effectively.
| B30 Roofing | B3010 Roof Coverings | B3011 Roof Finishes | Roof finish is membrane concrete. | 2016 | 50 | 25 | 25 | B301090 OTHER ROOFING Other | concrete | 58968 | SF | 173.44 | RS Means 33053405550 | 10227409.92 |  | good | 3 | The roof was built of a flat membrane concrete slab that was evenly distributed throughout with few fractures, and it was in fair condition.
|  |  | B3013 Roof Insulation & Fill | Insulation of fabric matrial is used for noise cancellation. | 2003 | 50 | 37.5 | 12.5 | B301003 ROOF INSULATION & FILL General | Translucent canvas panel | 16576 | SF | 0.55 | https://moodle.concordia.ca/moodle/pluginfile.php/5671983/mod_folder/content/0/Canada%20Pavilion/2013_Pavillon%20du%20Canada_Renforcement%20structure_rapports_Cegertec%20Worley%20Parsons_2012-2013%282%29.pdf?forcedownload=1 | 9116.8 |  | average | 2 | Roof insulation is not durable and offers poor soundproofing.
|  |  | B3016 Gutters and Downspouts" | Water drainage gutters were place on the roof. | 2003 | 20 | 10 | 10 | B301005 GUTTERS & DOWNSPOUTS General | Aluminium | 523 | LF | 3.21 | RS Means 77123100020 | 1678.83 |  | good | 3 | Having properly functioning gutters and downspouts allowed for proper water drainage.
|  | B3020 Roof Openings | B3021 Glazed Roof Openings | Glass opening is used at different place for lighting purpose. | 2003 | 75 | 18.75 | 56.25 | B301006 ROOF OPENINGS AND SUPPORTS Skylights | toughened glass | 1147 | SF | 61 | RS Means 84510100300 | 69967 |  | very good | 4 | A transparent, glazed ceiling opening that lets in plenty of natural light and ventilation is in outstanding shape.
|  |  | B3022 Roof Hatches | Roof can be accessed with heavy aluminium door. | 2003 | 75 | 0 | 75 | B301006 ROOF OPENINGS AND SUPPORTS Hatches | Aluminium | 20 | EA | 1123 | RS Means 77233100500 | 22460 |  | excellent | 5 | The roof hatches are made of metal and are in excellent shape. They are hinged on one side and are simple to open and close.
|  |  | B3023 Gravity Roof Ventilators" | For better ventilation inside the building, gravity roof ventilators are used. | 2003 | 20 | 5 | 15 | B301006 ROOF OPENINGS AND SUPPORTS Gravity Ventilator - 18"" Diameter | Aluminium | 9 | EA | 4514 | RS Means 233416104640 | 40626 |  | very good | 4 | They are an environmentally friendly, long-lasting replacement for conventional ventilation techniques.
C INTERIORS | C10 Interior Construction | C1010 Partitions | C1011 Fixed Partitions | Wooden partitions were installed for office space purpose and after it was removed . | 2014 | 14 | 3.5 | 10.5 | C101001 FIXED PARTITIONS Other | gypsum wall | 27168 | SF | 10.84 | RS Means 61110260185 | 294501.12 |  | very good | 4 | The inside gypsum wall parts were in good condition and had a decent paint finish.
|  |  | C1014 Site Built Toilet Partitions | Partition for toilet is of coated metal material. | 1990 | 40 | 0 | 40 | C103001 COMPARTMENTS, CUBICLES & | coated metal | 60 | EA | 59.15 | RS Means 44310603050 | 3549 |  | excellent | 5 | The metal-coated toilet divider was properly positioned and in good condition.
|  |  | C1015 Site Built Compartments Cubicles | Cubicle partiotions are of coated metal material. | 2001 | 40 | 10 | 30 | C103001 COMPARTMENTS, CUBICLES & TOILET PARTITIONS Toilet Partitions - Coated Steel | coated metal | 60 | EA | 1200 | https://moodle.concordia.ca/moodle/pluginfile.php/5671983/mod_folder/content/0/Canada%20Pavilion/2013_Pavillon%20du%20Canada_Renforcement%20structure_rapports_Cegertec%20Worley%20Parsons_2012-2013%282%29.pdf?forcedownload=1 | 72000 |  | very good | 4 | The compartment cubicles were brand new and in fantastic condition. They were composed of a timber substance with glass glazing.
|  |  | C1016 Interior Balustrades and Screens | Glass partition with wooden frame is used for office space seperation. | 2015 | 20 | 5 | 15 | C101004 INTERIOR GUARDRAILS & SCREENS Other | wooden | 1 | EA | 10000 | RS Means 15623101100 | 10000 |  | very good | 4 | the internal wooden balustrades were in decent shape but had worn finish.
|  |  | C1017 Interior Windows & Storefronts | Glass interior window is used for visibility to other space. | 2016 | 20 | 0 | 20 | C101006 GLAZED PARTITIONS & STOREFRONTS General | glass | 1375 | SF | 12.42 | RS Means 42126103125 | 17077.5 |  | excellent | 5 | The window glass divider is of good quality, has sorted visibility, appropriate support, and proper lighting.
|  |  | C1021 Interior Doors | Glass door with wooden frame is installed at the different places. | 2016 | 40 | 10 | 30 | C102002 GLAZED INTERIOR DOORS General | glass | 8 | EA | 1000 | https://moodle.concordia.ca/moodle/pluginfile.php/5671983/mod_folder/content/0/Canada%20Pavilion/2013_Pavillon%20du%20Canada_Renforcement%20structure_rapports_Cegertec%20Worley%20Parsons_2012-2013%282%29.pdf?forcedownload=1 | 8000 |  | very good | 4 | The glazed doors had great visual elements, were perfectly aligned, and were very sturdy.
|  |  | C1022 Interior Door Frames | For door frame, metal framing is placed. | 2016 | 40 | 10 | 30 | C102001 STANDARD INTERIOR DOORS Wood Door/Wood Frame | Metal | 3052 | SF | 7.39 | RS Means 64816103000 | 22554.28 |  | very good | 4 | The door frame has some small cracks and wasn't adequately sealed.
|  |  | C1023 Interior Door Hardware | Metal hinges are used for doors. | 2016 | 20 | 20 | 0 | C102007 INTERIOR DOOR HARDWARE General | metal | 125 | EA | 171.5 | RS Means 81433202710 | 21437.5 |  | poor | 1 | The door handles were sloppy, some of the door latches swung, and others were damaged or malfunctioned.
|  |  | C1026 Interior Hatches & Access Doors | interior hatch is used in the electrical room. | 2016 | 75 | 56.25 | 18.75 | B301006 ROOF OPENINGS AND SUPPORTS Hatches | metal | 1 | EA | 750 | https://www.globalindustrial.ca/p/multi-purpose-metal-access-panel-key-lock-24-x-24?infoParam.campaignId=T9F&gclid=Cj0KCQiAmaibBhCAARIsAKUlaKT1o4B8OU7eiYMrLVXIIsg4ixhXx9PqkkZbPPbDjZlr2wXqjUi2GxEaAkxmEALw_wcB | 750 |  | average | 2 | Extreme temperatures or moisture-related warping or damage to hatches and doors, as well as excessive noise from loose or poorly-fitting hatches and doors
|  |  | C1027 Door Painting & Decoration" | Green paint is used on solid wooden door. | 2016 | 24 | 12 | 12 | C102090 OTHER INTERIOR SPECIALTY DOORS Rollup Grille, Steel, Electric, 15' x 8' | paint | 5 | EA | 80.5 | RS Means 28319230120 | 402.5 |  | good | 3 | The surface was improved by the properly applied paint, which also makes it resistant to the formation of mould and mildew.
|  | C1030 Fittings | C1031 Fabricated Toilet Partitions | Partition for toilet is of coated metal material. | 2012 | 20 | 5 | 15 | C103001 COMPARTMENTS, CUBICLES & TOILET PARTITIONS Toilet Partitions | coated metal | 30 | EA | 1200 | https://moodle.concordia.ca/moodle/pluginfile.php/5671983/mod_folder/content/0/Canada%20Pavilion/2013_Pavillon%20du%20Canada_Renforcement%20structure_rapports_Cegertec%20Worley%20Parsons_2012-2013%282%29.pdf?forcedownload=1 | 36000 |  | very good | 4 | They were made of high-quality, long-lasting materials that were also simple to clean and maintain.
|  |  | C1032 Fabricated Compartments & Cubicles | Cubicle partiotions are of coated metal material. | 2016 | 20 | 5 | 15 | C103001 COMPARTMENTS, CUBICLES & TOILET PARTITIONS Other | coated metal | 30 | EA | 1200 | https://moodle.concordia.ca/moodle/pluginfile.php/5671983/mod_folder/content/0/Canada%20Pavilion/2013_Pavillon%20du%20Canada_Renforcement%20structure_rapports_Cegertec%20Worley%20Parsons_2012-2013%282%29.pdf?forcedownload=1 | 36000 |  | very good | 4 | To store critical files and documents, there were fabricated compartments and cubicles that were made of wood and had glass glazing.
|  |  | C1033 Storage Shelving and Lockers | Locker shelfs are of coated metal material. | 2008 | 30 | 15 | 15 | C103005 LOCKERS Other | coated metal | 10 | EA | 233.5 | RS Means 10511300110 | 2335 |  | good | 3 | Inadequate illumination and poor ventilation in the storage shelving and lockers with improper locking.
|  |  | C1036 Closet Specialties | Closet doors and shlves are of wooden material for storage purpose. | 2015 | 20 | 5 | 15 | C103011 CLOSETS Other | wooden | 210 | LF | 94 | RS Means 81433202804 | 19740 |  | very good | 4 | it is in good condition, and does not require any repair.
| C20 Stairs | C2010 Stair Construction | C2011 Regular Stairs | Metal stair is installed. | 1967 | 100 | 25 | 75 | C201001 INTERIOR AND EXTERIOR STAIRS Interior Stairs | metal | 5 | RISER | 468.12 | RS Means 55113500200 | 2340.6 |  | very good | 4 | Metal stairs are in decent shape and can be made to fit any space. They are also fireproof and slip-resistant.
|  |  | C2014 Stair Handrails and Balustrades | Metal Stair handrails are installed. | 2012 | 20 | 5 | 15 | C201090 STAIR HANDRAILS, GUARDRAILS AND ACCESSORIES Unknown | marble | 75 | LF | 6.25 | RS Means 15623101100 | 468.75 |  | very good | 4 | The metal stair handrails require little maintenance, are fire resistant, and have a very good paint finish.
|  | C2020 Stair Finishes | C2021 Stair, Tread, and Landing Finishes | Treads are made of marble. | 1967 | 100 | 0 | 100 | C201001 INTERIOR AND EXTERIOR STAIRS Interior Stairs - Wood (12 Riser Flight) | marble | 5 | EA | 102.65 | RS Means 64313200110 | 513.25 |  | excellent | 5 | The marble landing finishes and stair treads provide beauty and elegance while being long-lasting, easy to maintain and clean, impact and fire resistant.
|  |  | C2022 Stair Soffit Finishes | Coated metal soffit is installed under the stair. | 1967 | 100 | 50 | 50 | C201001 INTERIOR AND EXTERIOR STAIRS Interior Stairs - Wood (12 Riser Flight) | metal | 5 | EA | 102.65 | RS Means 64313200110 | 513.25 |  | good | 3 | it is still in adequate condition and it does not require any maintainence at the moment
| C30 Interior Finishes | D3010 Energy Supply | D3011 Oil Supply System | The oil supply line delivers oil to the pump, which then pressurizes the oil and delivers it to the filter. The filter removes impurities from the oil before it is delivered to the various parts of the building. | 2012 | 20 | 5 | 15 | D301001 OIL SUPPLY SYSTEM General | Steel | 1 | EA | 950 | https://www.grainger.ca/en/product/p/GRP142100-02?gucid=N:N:FPL:Free:GGL:CSM-1946:tew63h3:20501231 | 950 |  | very good | 4 | It features a check valve to stop oil from returning to the pump and a decent system of filters to remove contaminants from the oil.
|  |  | D3012 Gas Supply System | Gas supply is installed for kitchen and hot water and other purpose. | 1990 | 50 | 50 | 0 | D301002 GAS SUPPLY SYSTEM Gas Meter | metal | 1 | EA | 1855 | RS Means 223430000000 | 1855 |  | poor | 1 | The gas supply system have significant leaks. It is unable to meet peak demand. It's unable to meet customer expectations for quality and reliability. It have insufficient capacity.It is vulnerable to tampering or other security threats.
|  |  | D3015 Hot Water Supply System | For hot water throughtout the building, hot water supply system is installed with supply of gas from gas supply system. | 2012 | 20 | 5 | 15 | D301004 HOT WATER SUPPLY SYSTEM (FROM CENTRAL PLANT) Other | metal | 200 | LF | 45.7 | RS Means 221114000000 | 9140 |  | very good | 4 | It is new condition just removal of dust and small clearance check up is needed
|  | D3020 Heat Generating Systems | D3021 Boilers | Boiler is used for hot water supply. | 2010 | 30 | 22.5 | 7.5 | D302001 BOILERS Solid Fuel - Stoker Fired, 2200-2500 MBH | Metal | 1 | EA | 13755 | RS Means 235213000000 | 13755 |  | average | 2 | Sedimentation and corrosion, Degradation of heat exchangers, Incomplete combustion, Poor water quality, High fuel costs
|  |  | D3024 Insulation | Isultaion is used between walls. | 2014 | 20 | 15 | 5 | D302005 EQUIPMENT THERMAL INSULATION Other | Fibre | 1 | EA | 24000 | https://www.fixr.com/costs/electrical-wiring | 24000 |  | average | 2 | Cracks and gaps can form in the insulation system over time, allowing heat to escape. The insulation system may settle and compress over time, reducing its effectiveness.
|  | D3030 Cooling Generating Systems | D3032 Direct Expansion Systems | refrigerant is pumped through a series of coils or pipes in a building with the help of direct expansion system. | 2014 | 15 | 11.25 | 3.75 | D303090 OTHER COOLING GENERATING SYSTEMS Other | - | 1 | EA | 7065 | RS Means 236433000000 | 7065 |  | average | 2 | It requires more maintenance and even its noisy.Its more dangerus now to use
D SERVICES | D40 Fire Protection | D4020 Standpipes | D4021 Standpipe Water Supply | Standpipe system for fire hazard water supply. | 2013 | 20 | 5 | 15 | D403001 STANDPIPE EQUIPMENT & PIPING Riser - 4"" diam | brass | 10 | EA | 1320 | RS Means 211120000000 | 13200 |  | very good | 4 | Installed in 1967 the standpipe equipment looks satisfactory but could be provided in a more acessible area.
|  |  | D4022 Pumping Equipment | Used to move water or other fluids from one place to another. | 2015 | 20 | 10 | 10 | D402002 FIRE PUMP Other | Metal | 1 | EA | 3705 | RS Means 221123000000 | 3705 |  | good | 3 | The connections in fire pump looks old with notable corrossion.
|  |  | D4023 Standpipe Equipment | Valves, pressure meter, pipe connector are use for entire system. | 2015 | 20 | 10 | 10 | D403001 STANDPIPE EQUIPMENT & PIPING Riser - 4"" diam | brass | 9 | EA | 1320 | RS Means 211120000000 | 11880 |  | good | 3 | Standpipe riser could be installed in a more acessible area and it looks old and rusty.
|  |  | D4024 Fire Hose Equipment | System consists of fire extinguisher, flexibe water pipe, standpipe supply. | 1967 | 75 | 0 | 75 | D403001 STANDPIPE EQUIPMENT & PIPING Fire Hose Equipment | Brass | 10 | LF | 500 | https://cleanflow.net/products/1-1-2-double-jacket-fire-hose-assemblies-c-w-instantaneous-forestry-fittings?currency=CAD&variant=31587085877309&utm_medium=cpc&utm_source=google&utm_campaign=Google%20Shopping&srsltid=AYJSbAcqcoKrl6QbTOh0ql2_lxzDLNp-1XOV-6VPyRc1csb_U83ANrU6iz8 | 5000 |  | excellent | 5 | Equipment is in good condition but instruction for use is missing.
|  | D4030 Fire Protection Specialties | D4031 Fire Extinguishers | Place at several placed inside the building for fire protection. | 2021 | 20 | 0 | 20 | D405001 PORTABLE EXTINGUISHERS General | Metallic | 26 | EA | 277 | RS Means 104416000000 | 7202 |  | excellent | 5 | More fire extinguishers could be provided in important areas.
| D50 Electrical | D5010 Electrical Service & Distribution | D5012 Low Tension Service & Dist. | Low tension service system transmit the power from high tension electric service system. | 2014 | 20 | 5 | 15 | D501002 SERVICE ENTRANCE EQUIPMENT-Electrical Service | Metal | 1 | EA | 799 | https://www.northerntool.com/shop/tools/product_200608133_200608133 | 799 |  | very good | 4 | The building should include a completely integrated lighting control system, while it is not necessary. It would be possible to schedule events, establish task-specific lighting intensities, and integrate occupancy sensors
|  | D5020 Lighting & Branch Wiring | D5021 Branch Wiring Devices | Electricity is supplied through branch wiring in the entire building. | 2014 | 50 | 37.5 | 12.5 | D501005 ENCLOSED CIRCUIT BREAKERS | Metal | 1 | EA | 7460 | RS Means 262413400410 | 7460 |  | average | 2 | Connections are in fair condition.
|  |  | D5022 Lighting Equipment | Fluorescent lights are used for better lighting inside the building. | 2006 | 20 | 5 | 15 | D502002 LIGHTING EQUIPMENT- | Polycarbonate | 100 | EA | 238 | RS Means 265213100500 | 23800 |  | very good | 4 | Brighter lights could be installed.
|  | D5030 Communications & Security | D5033 Telephone Systems | Intercom telephones and other digital systems are used for internal communication. | 2014 | 15 | 0 | 15 | D503001 TELECOMMUNICATIONS SYSTEMS General | Multiple materials | 4 | EA | 1000 | https://campaign.aliexpress.com/wow/gcp/tesla-pc-new/index?UTABTest=aliabtest344316_486351&_randl_currency=CAD&_randl_shipto=CA&src=google&aff_fcid=222b19df2cbb4ab5800c81224eb9a611-1667953029969-05182-UneMJZVf&aff_fsk=UneMJZVf&aff_platform=aaf&sk=UneMJZVf&aff_trace_key=222b19df2cbb4ab5800c81224eb9a611-1667953029969-05182-UneMJZVf&terminal_id=a9e148f37ead4951bb2da3e7a4c5e66e&wh_weex=true&wx_navbar_hidden=true&wx_navbar_transparent=true&ignoreNavigationBar=true&wx_statusbar_hidden=true&bt_src=ppc_direct_lp&scenario=pcBridgePPC&productId=1005001854854248&OLP=1084300508_f_group2&o_s_id=1084300508 | 4000 |  | excellent | 5 | Telecommunication systems are in ecellent condition.
|  |  | D5035 Television Systems | Television is used for general purpose such as for news, sports or other security purpose. | 2015 | 20 | 5 | 15 | D503004 TELEVISION SYSTEMS General | Multiple materials | 6 | EA | 2326 | RS Means 282313103410 | 13956 |  | very good | 4 | Television systems could be provided in every room.
|  |  | D5037 Fire Alarm Systems | Fire alarm system are installed throughout the building. | 2014 | 20 | 8 | 12 |  | Metal | 100 | CLF | 395 | RS Means 260523201800 | 39500 |  | good | 3 | Labeling is poor and looks rusty.
|  |  | D5038 Security and Detection Systems | Security cameras are installed at few place and many of them are broke or not working. | 2016 | 20 | 5 | 15 | D503005 SECURITY SYSTEMS General | Plastic | 100 | EA | 373 | RS Means 281616500100 | 37300 |  | very good | 4 | Security systems are in not so good condition, there is security system in most of the rooms.
|  |  | D5039 Local Area Networks | For the local area network systems, modems are installed at several places to improve connectivity. | 2020 | 15 | 0 | 15 | D503003 INTERCOMMUNICATIONS SYSTEMS Other | Metal | 8 | EA | 199 | https://www.amazon.ca/Herdio-Amplifier-Receiver-Speakers-Bathroom/dp/B0836NT74H/ref=asc_df_B0836NT74H/?tag=googleshopc0c-20&linkCode=df0&hvadid=459879884531&hvpos=&hvnetw=g&hvrand=6430251217663233886&hvpone=&hvptwo=&hvqmt=&hvdev=c&hvdvcmdl=&hvlocint=&hvlocphy=9061024&hvtargid=pla-923285499744&psc=1 | 1592 |  | excellent | 5 | Intercommunication systems are in excellent condition.
|  | D5090 Other Electrical System | D5091 Grounding Systems | Grounding system is to transfer the storm lighting to the grund. | 2012 | 20 | 20 | 0 | G401008 GROUNDING SYSTEMS General | copper | 1 | EA | 35500 | https://howmuch.net/costs/electric-lightning-rod-install | 35500 |  | poor | 1 | Must be replaced immediately.
|  |  | D5092 Emergency Light & Power Systems | Emergecy lighting system is used during power cut. | 2014 | 20 | 5 | 15 | D509002 EMERGENCY LIGHTING & POWER Other | Steel | 1 | EA | 6760 | RS Means 265213100700 | 6760 |  | very good | 4 | Emergency lighting are in satisfactory condition.
|  |  | D5094 Other Special Systems & Devices | Other system are installed such as fire sprinklers, standby generator. | 2014 | 18 | 4.5 | 13.5 | D509090 OTHER SPECIAL SYSTEMS AND DEVICES Other | Metal | 2 | EA | 2000 | https://moodle.concordia.ca/moodle/pluginfile.php/5671983/mod_folder/content/0/Canada%20Pavilion/2013_Pavillon%20du%20Canada_Renforcement%20structure_rapports_Cegertec%20Worley%20Parsons_2012-2013%282%29.pdf?forcedownload=1 | 4000 |  | very good | 4 | Special systems are satisfactory but slight painting is required.
|  |  | D5095 General Construction Items (Elect.) | General item such as switches, outlets, wiring are used. | 2014 | 20 | 5 | 15 | D509001 GENERAL CONSTRUCTION ITEMS (ELECTRICAL) General | Metal | 1 | EA | 8000 | https://www.fixr.com/costs/electrical-wiring#cost-to-wire-a-house-per-square-foot | 8000 |  | very good | 4 | General Construction items are in favorable condition.

## Shell(RUL)✅
`
SR NO. | Sub Element | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Total
1 | B1012 Upper Floors Construction | ` 2022: 1308400 | 1308400
2 | B1013 Balcony Floors Construction | ` 2022: 52220 | 52220
3 | B1014 Ramps | [10 empty] | 0
4 | B1019 Other Floor Construction | [10 empty] | 0
5 | B1021 Flat Roof Construction | [10 empty] | 0
6 | B1022 Pitched Roof Construction | [10 empty] | 0
7 | B2011 Exterior Wall Construction | [10 empty] | 0
8 | B2015 Balcony Walls & Handrails | ` 2028: 2513.9 | 2513.9
9 | B2016 Exterior Soffits" | [10 empty] | 0
10 | B2021 Windows | [10 empty] | 0
11 | B2022 Curtain Walls | [10 empty] | 0
12 | B2034 Overhead Doors | [10 empty] | 0
13 | B2039 Other Doors & Entrances" | [10 empty] | 0
14 | B3011 Roof Finishes | [10 empty] | 0
15 | B3013 Roof Insulation & Fill | [10 empty] | 0
16 | B3016 Gutters and Downspouts" | ` 2031: 1678.83 | 1678.83
17 | B3021 Glazed Roof Openings | [10 empty] | 0
18 | B3022 Roof Hatches | [10 empty] | 0
19 | B3023 Gravity Roof Ventilators" | [10 empty] | 0
| Total $/ Year | 1360620 | 0 | 0 | 0 | 0 | 0 | 2513.9 | 0 | 0 | 1678.83 | 1364812.73
| Total Deferred maintenance | ` 2022: 1364812.73
| Total Replacement Value of Shell system | ` 2022: 13156599
| SCI | ` 2022: 0.10374
A system condition index is a number that represents the overall health of an asset. It is used to help asset managers make decisions about when to repair or replace an asset.

## Interior(RUL)✅
SR NO. | Sub Element | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Total
1 | C1011 Fixed Partitions | [10 empty] | 0
2 | C1014 Site Built Toilet Partitions | [10 empty] | 0
3 | C1015 Site Built Compartments Cubicles | [10 empty] | 0
4 | C1016 Interior Balustrades and Screens | [10 empty] | 0
5 | C1017 Interior Windows & Storefronts | [10 empty] | 0
6 | C1021 Interior Doors | [10 empty] | 0
7 | C1022 Interior Door Frames | [10 empty] | 0
8 | C1023 Interior Door Hardware | 2022: 21437.5 | 21437.5
9 | C1026 Interior Hatches & Access Doors | [10 empty] | 0
10 | C1027 Door Painting & Decoration" | [10 empty] | 0
11 | C1031 Fabricated Toilet Partitions | [10 empty] | 0
12 | C1032 Fabricated Compartments & Cubicles | [10 empty] | 0
13 | C1033 Storage Shelving and Lockers | [10 empty] | 0
14 | C1036 Closet Specialties | [10 empty] | 0
15 | C2011 Regular Stairs | [10 empty] | 0
16 | C2014 Stair Handrails and Balustrades | [10 empty] | 0
17 | C2021 Stair, Tread, and Landing Finishes | [10 empty] | 0
18 | C2022 Stair Soffit Finishes | [10 empty] | 0
19 | D3011 Oil Supply System | 2022: 950 | 950
20 | D3012 Gas Supply System | [10 empty] | 0
21 | D3015 Hot Water Supply System | [10 empty] | 0
22 | D3021 Boilers | 2029: 13755 | 13755
23 | D3024 Insulation | 2027: 24000 | 24000
24 | D3032 Direct Expansion Systems | 2025: 7065 | 7065
| Total $/ Year | 22387.5 | 0 | 0 | 7065 | 0 | 24000 | 0 | 13755 | 0 | 0 | 67207.5
| Total Deferred maintenance | 2022: 67207.5
| Total Replacement Value of Shell system | 2022: 604947.75
| SCI | 2022: 0.1111
A system condition index is a number that represents the overall health of an asset. It is used to help asset managers make decisions about when to repair or replace an asset.

## Services(RUL) ✅
| SR NO. | Sub Element | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Total
| 1 | D4021 Standpipe Water Supply | [10 empty] | 0
| 2 | D4022 Pumping Equipment | 2031: 3705 | 3705
| 3 | D4023 Standpipe Equipment | 2031: 11880 | 11880
\ | 4 | D4024 Fire Hose Equipment | [10 empty] | 0
| 5 | D4031 Fire Extinguishers | [10 empty] | 0
| 6 | D5011 High Tension Service & Dist. | [10 empty] | 0
| 7 | D5012 Low Tension Service & Dist. | [10 empty] | 0
| 8 | D5021 Branch Wiring Devices | [10 empty] | 0
| 9 | D5022 Lighting Equipment | [10 empty] | 0
| 10 | D5033 Telephone Systems | [10 empty] | 0
| 11 | D5035 Television Systems | [10 empty] | 0
| 12 | D5037 Fire Alarm Systems | [10 empty] | 0
| 13 | D5038 Security and Detection Systems | [10 empty] | 0
| 14 | D5039 Local Area Networks | [10 empty] | 0
| 15 | D5091 Grounding Systems | 2022: 35500 | 35500
| 16 | D5092 Emergency Light & Power Systems | [10 empty] | 0
| 17 | D5094 Other Special Systems & Devices | [10 empty] | 0
| 18 | D5095 General Construction Items (Elect.) | [10 empty] | 0
|  | Total $/ Year | 35500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15585 | 51085
|  | Total Deferred maintenance | 2022: 51085
|  | Total Replacement Value of Shell system | 2022: 223654
|  | SCI | 2022: 0.22841
A system condition index is a number that represents the overall health of an asset. It is used to help asset managers make decisions about when to repair or replace an asset.

## Life cycle cost✅
Replacement cost |  |  |  |  | Replacement cost in TPWC
| Shell | Interior | Services | Total |  | Shell | Interior | Services | Total
2022 | 1360620 | 22387.5 | 35500 | 1418507.5 | 2022 | 1360620 | 22387.5 | 35500 | 1418507.5
2023 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0
2025 | 0 | 7065 | 0 | 7065 | 2025 | 0 | 6465.4758 | 0 | 6465.4758
2026 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0
2027 | 0 | 24000 | 0 | 24000 | 2027 | 0 | 20702.6108 | 0 | 20702.6108
2028 | 2513.9 | 0 | 0 | 2513.9 | 2028 | 2105.3517 | 0 | 0 | 2105.3517
2029 | 0 | 13755 | 0 | 13755 | 2029 | 0 | 11184.0737 | 0 | 11184.0737
2030 | 0 | 0 | 0 | 0 | 2030 | 0 | 0 | 0 | 0
2031 | 1678.83 | 0 | 15585 | 17263.83 | 2031 | 1286.6834 | 0 | 11944.6048 | 13231.2882
Total | 1364812.73 | 67207.5 | 51085 | 1483105.23 | Total | 1364012.0351 | 60739.6604 | 47444.6048 | 1472196.3002
Markup (35%) | 1842497.1855 | 90730.125 | 68964.75 | 2002192.0605 | Markup (35%) | 1841416.2474 | 81998.5415 | 64050.2164 | 1987465.0053

## SCI✅
System | SCI
SHELL | 0.10374
INTERIORS | 0.1111
SERVICES | 0.22841

## Level of Service✅
Level of Service
Level 1 | Level 2 | Level 3 | Level 4 | Expected services | Current services | Action plan
B Shell | B10 Superstructure | B1010 Floor Construction | B1012 Upper Floors Construction | It should safely support the loads placed on it, together with its weight. | Supports the load at several places but has not efficient at the several area like theater | Replacement of the floors in the theater stage and carpet in the main central area
B1013 Balcony Floors Construction
B1014 Ramps
B1019 Other Floor Construction
|  | B1020 Roof Construction | B1021 Flat Roof Construction | Provide insulation, retaining heat in the winter or cool air in the summer | Protects building, but insulation in the passage is torn off | Installation of the insulation in the passage
B1022 Pitched Roof Construction
| B20 Exterior Enclosure | B2010 Exterior Walls | B2011 Exterior Wall Construction | It gives a surface for applying material like siding, Protects the structure from rain, snow, wind, etc. | Protects the structure | No action required
B2015 Balcony Walls & Handrails
B2016 Exterior Soffits"
|  | B2020 Exterior Windows | B2021 Windows | Furnishes an interior space with the necessary light, ventilation, or both. | Provides good safety, vantilation and light | No action required in the facility
B2022 Curtain Walls
|  | B2030 Exterior Doors | B2034 Overhead Doors | Means of entry and exit, security | Means of entry and exit, security | Maintenace required in the garage door, to make it less noisy
B2039 Other Doors & Entrances"
| B30 Roofing | B3010 Roof Covering | B3011 Roof Finishes | Protect the roof from rain, snow | Protect the roof from rain, snow | Minor crack on the roof floor can be repaired and the insulation material in some area can be replaced with the new one
B3013 Roof Insulation & Fill
B3016 Gutters and Downspouts"
|  | B3020 Roof Openings | B3021 Glazed Roof Openings | To allow natural illumination in the room | To allow natural illumination in the room | No action required in the facility
B3022 Roof Hatches
|  |  | B3023 Gravity Roof Ventilators" |  |  |  | `
C Interiors | C10 Interior Construction | C1010 Partitions | C1011 Fixed Partitions | To divide buildings into suitably sized rooms | To divide buildings into suitably sized rooms | No action required in the facility
C1014 Site-Built Toilet Partitions
C1015 Site-Built Compartments Cubicles
C1016 Interior Balustrades and Screens
C1017 Interior Windows & Storefronts"
|  | C1020 Interior Doors | C1021 Interior Doors | Provides access and egress to a room or other space inside of a building. | Improper accessibility in some of the rooms due to some of the broken hardware and improper frame alignment. Which indirectly affects the privacy of the room. | Some of the door hardware must be replaced with new ones to function the wooden floors properly, and proper frame alignment consulting is required. Moreover, adequate lubrication and painting are required for the hatches to protect them from weathering.
C1022 Interior Door Frames
C1023 Interior Door Hardware
C1027 Door Painting & Decoration"
|  | C1030 Fittings | C1031 Fabricated Toilet Partitions | Division of the two spaces, and safe and secure storage of the customers belongings | Division of the two spaces, some of the lockers are broken which affects the security of the belongings | repair and maintenance of the selves locks and proper functioning of the hardware of the wooden selves
C1032 Fabricated Compartments & Cubicles
C1033 Storage Shelving and Lockers
C1036 Closet Specialties
| C20 Stairs | C2010 Stair Construction | C2011 Regular Stairs | To provide a simple and easy means of moving between levels | To provide a simple and easy means of moving between levels | No action required in the facility
C2014 Stair Handrails and Balustrades
|  | C2020 Stair Finishes | C2021 Stair, Tread, and Landing Finishes
C2022 Stair Soffit Finishes
| C30 Interior Finishes | D3010 Energy Supply | D3011 Oil Supply System | To maintain a comfortable indoor environment | Improper service due to the old system | Reinstallation of the gas supply system is required
D3012 Gas Supply System
D3015 Hot Water Supply System
|  | D3020 Heat Generating Systems | D3021 Boilers
D3024 Insulation
|  | D3030 Cooling Generating Systems | D3032 Direct Expansion Systems
D Services | D40 Fire Protection | D4020 Standpipes | D4021 Standpipe Water Supply | To reduces the risk of injury and building damage that fires can cause | To reduces the risk of injury and building damage that fires can cause | No action required, as the system is inspected every year
D4022 Pumping Equipment
D4023 Standpipe Equipment
D4024 Fire Hose Equipment
|  | D4030 Fire Protection Specialties | D4031 Fire Extinguishers
| D50 Electrical | D5010 Electrical Service & Distribution | D5012 Low Tension Service & Dist. | To transport, distribute, and safely convert electrical power from the source of delivery or generation to the numerous loads within the structure that use the electricity | To transport, distribute, and safely convert electrical power from the source of delivery or generation to the numerous loads within the structure that use the electricity | No changes are required as the electrical system was newly renovated in 2014 in the renovated areas. Still, in the unrenovated regions (basement), replacement of the lighting equipment is required, plus the connection of the grounding system tips off during the rainy season, which requires maintenance.
|  | D5020 Lighting & Branch Wiring | D5021 Branch Wiring Devices
D5022 Lighting Equipment
|  | D5030 Communications & Security | D5033 Telephone Systems
D5035 Television Systems
D5037 Fire Alarm Systems
D5038 Security and Detection Systems
D5039 Local Area Networks
|  | D5090 Other Electrical System | D5091 Grounding Systems
D5092 Emergency Light & Power Systems
D5094 Other Special Systems & Devices
D5095 General Construction Items (Elect.)

## POF✅
Install Year | age | Expected service life | Condition Rating | (Age/ESL)*100 | Score ((Age/ESL)*100) | 40 % of (Age/ESL) | Score (Condition rating) | 60% of condition rating | POF
1967 | 55 | 100 | 1 | 55 | 90 | 36 | 100 | 60 | 96
1967 | 55 | 100 | 1 | 55 | 90 | 36 | 100 | 60 | 96 |  | Rating (1 - 5) | Score
1967 | 55 | 100 | 4 | 55 | 90 | 36 | 25 | 15 | 51 |  | 1 - Poor | 100
1967 | 55 | 100 | 4 | 55 | 90 | 36 | 25 | 15 | 51 |  | 2 - Marginal | 75
2003 | 19 | 60 | 4 | 31.6667 | 40 | 16 | 25 | 15 | 31 |  | 3 - Adequate | 50
2003 | 19 | 100 | 3 | 19 | 10 | 4 | 0 | 0 | 4 |  | 4 - Good | 25
1967 | 55 | 100 | 4 | 55 | 90 | 36 | 25 | 15 | 51 |  | 5 - Excellent | 0
2015 | 7 | 15 | 3 | 46.6667 | 40 | 16 | 50 | 30 | 46 | `
2015 | 7 | 20 | 5 | 35 | 40 | 16 | 50 | 30 | 46
2012 | 10 | 35 | 5 | 28.5714 | 40 | 16 | 0 | 0 | 16 |  | Age vs. ESL
1967 | 55 | 75 | 4 | 73.3333 | 90 | 36 | 25 | 15 | 51 |  | Value | Score
2010 | 12 | 25 | 3 | 48 | 40 | 16 | 0 | 0 | 16 |  | 0%-25% | 10
2014 | 8 | 30 | 4 | 26.6667 | 40 | 16 | 25 | 15 | 31 |  | 25%-50% | 40
2016 | 6 | 50 | 3 | 12 | 10 | 4 | 0 | 0 | 4 |  | 50%-75% | 90
2003 | 19 | 50 | 2 | 38 | 40 | 16 | 75 | 45 | 61 |  | 75%+ | 100
2003 | 19 | 20 | 3 | 95 | 100 | 40 | 0 | 0 | 40
2003 | 19 | 75 | 4 | 25.3333 | 40 | 16 | 50 | 30 | 46
2003 | 19 | 75 | 5 | 25.3333 | 40 | 16 | 0 | 0 | 16
2003 | 19 | 20 | 4 | 95 | 100 | 40 | 25 | 15 | 55
2014 | 8 | 14 | 4 | 57.1429 | 90 | 36 | 25 | 15 | 51
1990 | 32 | 40 | 5 | 80 | 100 | 40 | 0 | 0 | 40
2001 | 21 | 40 | 4 | 52.5 | 90 | 36 | 25 | 15 | 51
2015 | 7 | 20 | 4 | 35 | 40 | 16 | 25 | 15 | 31
2016 | 6 | 20 | 5 | 30 | 40 | 16 | 0 | 0 | 16
2016 | 6 | 40 | 4 | 15 | 10 | 4 | 25 | 15 | 19
2016 | 6 | 40 | 4 | 15 | 10 | 4 | 25 | 15 | 19
2016 | 6 | 20 | 1 | 30 | 40 | 16 | 100 | 60 | 76
2016 | 6 | 75 | 2 | 8 | 10 | 4 | 75 | 45 | 49
2016 | 6 | 24 | 3 | 25 | 40 | 16 | 0 | 0 | 16
2012 | 10 | 20 | 4 | 50 | 90 | 36 | 25 | 15 | 51
2016 | 6 | 20 | 4 | 30 | 40 | 16 | 25 | 15 | 31
2008 | 14 | 30 | 3 | 46.6667 | 40 | 16 | 0 | 0 | 16
2015 | 7 | 20 | 4 | 35 | 40 | 16 | 25 | 15 | 31
1967 | 55 | 100 | 4 | 55 | 90 | 36 | 25 | 15 | 51
2012 | 10 | 20 | 4 | 50 | 90 | 36 | 25 | 15 | 51
1967 | 55 | 100 | 5 | 55 | 90 | 36 | 0 | 0 | 36
1967 | 55 | 100 | 3 | 55 | 90 | 36 | 0 | 0 | 36
2012 | 10 | 20 | 4 | 50 | 90 | 36 | 25 | 15 | 51
1990 | 32 | 50 | 1 | 64 | 90 | 36 | 100 | 60 | 96
2012 | 10 | 20 | 4 | 50 | 90 | 36 | 25 | 15 | 51
2010 | 12 | 30 | 2 | 40 | 40 | 16 | 75 | 45 | 61
2014 | 8 | 20 | 2 | 40 | 40 | 16 | 75 | 45 | 61
2014 | 8 | 15 | 2 | 53.3333 | 90 | 36 | 75 | 45 | 81
2013 | 9 | 20 | 4 | 45 | 40 | 16 | 25 | 15 | 31
2015 | 7 | 20 | 3 | 35 | 40 | 16 | 0 | 0 | 16
2015 | 7 | 20 | 3 | 35 | 40 | 16 | 0 | 0 | 16
1967 | 55 | 75 | 5 | 73.3333 | 90 | 36 | 0 | 0 | 36
2021 | 1 | 20 | 5 | 5 | 10 | 4 | 0 | 0 | 4
2014 | 8 | 20 | 4 | 40 | 40 | 16 | 25 | 15 | 31
2014 | 8 | 50 | 2 | 16 | 10 | 4 | 75 | 45 | 49
2006 | 16 | 20 | 4 | 80 | 100 | 40 | 25 | 15 | 55
2014 | 8 | 15 | 5 | 53.3333 | 90 | 36 | 0 | 0 | 36
2015 | 7 | 20 | 4 | 35 | 40 | 16 | 25 | 15 | 31
2014 | 8 | 20 | 3 | 40 | 40 | 16 | 0 | 0 | 16
2016 | 6 | 20 | 4 | 30 | 40 | 16 | 25 | 15 | 31
2020 | 2 | 15 | 5 | 13.3333 | 10 | 4 | 0 | 0 | 4
2012 | 10 | 20 | 1 | 50 | 90 | 36 | 100 | 60 | 96
2014 | 8 | 20 | 4 | 40 | 40 | 16 | 25 | 15 | 31
2014 | 8 | 18 | 4 | 44.4444 | 40 | 16 | 25 | 15 | 31
2014 | 8 | 20 | 4 | 40 | 40 | 16 | 25 | 15 | 31

## COF System✅
Pair wise comparison (Structure)
Overall Consequence
Pair-wise Comparison for Consequences
| Economic | Environmental | Social | Sum |  | Ratio | Importance
Economic | 1 | 1.5 | 3 | 5.5 |  | 1 | Equally Important
Environmental | 0.66667 | 1 | 3 | 4.6667 |  | 1.5 | Moderately more important
Social | 0.33333 | 0.33333 | 1 | 1.6667 |  | 3 | Strongly more important
TOTAL |  |  |  | 11.8333 |  | 4.5 | Very strongly more Important
[6 empty] | 6 | Extremely more Important
| Economic | Environmental | Social | Weighting
Economic | 0.5 | 0.52941 | 0.42857 | 48.6%
Environmental | 0.33333 | 0.35294 | 0.42857 | 37.16%
Social | 0.16667 | 0.11765 | 0.14286 | 14.24%
TOTAL |  |  |  | 100%
Consistency Check | Economic | Environmental | Social | Weighted Sum
| 0.48599 | 0.55742 | 0.42717 | 1.4706 | 3.0259
| 0.324 | 0.37162 | 0.42717 | 1.1228 | 3.0214
| 0.162 | 0.12387 | 0.14239 | 0.42826 | 3.0077
Number of factors | 3
λ max | 3.0183
CI | 0.0091573
RI | 0.58
CR | 0.015788 | <0.10

## COF Economic✅
Pair wise comparison (Economic )
Overall Consequence
Pair-wise Comparison for Consequences
| Use Of Material | Labor Costs | Cost To Replace | Sum |  | Ratio | Importance
Use Of Material | 1 | 3 | 3 | 7 |  | 1 | Equally Important
Labor Costs | 0.33333 | 1 | 2 | 3.3333 |  | 1.5 | Moderately more important
Cost To Replace | 0.33333 | 0.5 | 1 | 1.8333 |  | 3 | Strongly more important
TOTAL |  |  |  | 12.1667 |  | 4.5 | Very strongly more Important
[6 empty] | 6 | Extremely more Important
| Use Of Material | Labor Costs | Cost To Replace | Weighting
Use Of Material | 0.6 | 0.66667 | 0.5 | 58.89%
Labor Costs | 0.2 | 0.22222 | 0.33333 | 25.19%
Cost To Replace | 0.2 | 0.11111 | 0.16667 | 15.93%
TOTAL |  |  |  | 100%
Consistency Check | Use Of Material | Labor Costs | Cost To Replace | Weighted Sum
| 0.58889 | 0.75556 | 0.47778 | 1.8222 | 3.0943
| 0.1963 | 0.25185 | 0.31852 | 0.76667 | 3.0441
| 0.1963 | 0.12593 | 0.15926 | 0.48148 | 3.0233
Number of factors | 3
λ max | 3.0539
CI | 0.026952
RI | 0.58
CR | 0.046469 | <0.10

## COF Environmental ✅
Pair wise comparison (Environmental )
Overall Consequence
Pair-wise Comparison for Consequences
| Waste generation | Energry Consumption | Fire safety | Sum |  | Ratio | Importance
Waste generation | 1 | 3.5 | 4 | 8.5 |  | 1 | Equally Important
Energry Consumption | 0.28571 | 1 | 3 | 4.2857 |  | 1.5 | Moderately more important
Fire safety | 0.25 | 0.33333 | 1 | 1.5833 |  | 3 | Strongly more important
TOTAL |  |  |  | 14.369 |  | 4.5 | Very strongly more Important
[6 empty] | 6 | Extremely more Important
| Waste generation | Energry Consumption | Fire safety | Weighting
Waste generation | 0.65116 | 0.72414 | 0.5 | 62.51%
Energry Consumption | 0.18605 | 0.2069 | 0.375 | 25.6%
Fire safety | 0.16279 | 0.068966 | 0.125 | 11.89%
TOTAL |  |  |  | 100%
Consistency Check | Waste generation | Energry Consumption | Fire safety | Weighted Sum
| 0.6251 | 0.89593 | 0.47567 | 1.9967 | 3.1942
| 0.1786 | 0.25598 | 0.35676 | 0.79134 | 3.0914
| 0.15628 | 0.085327 | 0.11892 | 0.36052 | 3.0317
Number of factors | 3
λ max | 3.1058
CI | 0.052878
RI | 0.58
CR | 0.091169 | <0.10

## COF Social✅
Pair wise comparison (Social )
Overall Consequence
Pair-wise Comparison for Consequences
| Customer reviews | Comfortable space | Accessibility | Sum |  | Ratio | Importance
Customer reviews | 1 | 1.25 | 1.5 | 3.75 |  | 1 | Equally Important
Comfortable space | 0.8 | 1 | 1.6 | 3.4 |  | 1.5 | Moderately more important
Accessibility | 0.66667 | 0.625 | 1 | 2.2917 |  | 3 | Strongly more important
TOTAL |  |  |  | 9.4417 |  | 4.5 | Very strongly more Important
[6 empty] | 6 | Extremely more Important
| Customer reviews | Comfortable space | Accessibility | Weighting
Customer reviews | 0.40541 | 0.43478 | 0.36585 | 40.2%
Comfortable space | 0.32432 | 0.34783 | 0.39024 | 35.41%
Accessibility | 0.27027 | 0.21739 | 0.2439 | 24.39%
TOTAL |  |  |  | 100%
Consistency Check | Customer reviews | Comfortable space | Accessibility | Weighted Sum
| 0.40201 | 0.44266 | 0.36578 | 1.2105 | 3.011
| 0.32161 | 0.35413 | 0.39017 | 1.0659 | 3.0099
| 0.26801 | 0.22133 | 0.24385 | 0.7332 | 3.0067
Number of factors | 3
λ max | 3.0092
CI | 0.0046019
RI | 0.58
CR | 0.0079343 | <0.10

## COF and risk failure ✅
Sr No. | Assets | Economic (49%) | Environment (37%) | Social (14%) | Cof Value | POF value | ROF | Risk Rating
1 | D3012 Gas Supply System | 100 | 100 | 75 | 96.5 | 96 | 92.64 | 1
2 | B1012 Upper Floors Construction | 100 | 75 | 100 | 90.75 | 96 | 87.12 | 2 | Impact score For COF
2 | B1013 Balcony Floors Construction | 75 | 100 | 100 | 87.75 | 96 | 84.24 | 3 | Low | 25
43 | D3032 Direct Expansion Systems | 100 | 50 | 75 | 78 | 81 | 63.18 | 4 | Medium | 50
27 | C1023 Interior Door Hardware | 100 | 25 | 100 | 72.25 | 76 | 54.91 | 5 | High | 75
41 | D3021 Boilers | 75 | 100 | 75 | 84.25 | 61 | 51.3925 | 6 | Very High | 100
34 | C2011 Regular Stairs | 100 | 75 | 100 | 90.75 | 51 | 46.2825 | 7
57 | D5091 Grounding Systems | 25 | 75 | 50 | 47 | 96 | 45.12 | 8
65.6106
8 | B2015 Balcony Walls & Handrails | 75 | 100 | 100 | 87.75 | 46 | 40.365 | 9
9 | B2016 Exterior Soffits | 75 | 100 | 75 | 84.25 | 46 | 38.755 | 10
50 | D5021 Branch Wiring Devices | 100 | 50 | 50 | 74.5 | 49 | 36.505 | 11
15 | B3013 Roof Insulation & Fill | 50 | 75 | 25 | 55.75 | 61 | 34.0075 | 12
17 | B3021 Glazed Roof Openings | 100 | 50 | 25 | 71 | 46 | 32.66 | 13
42 | D3024 Insulation | 25 | 75 | 75 | 50.5 | 61 | 30.805 | 14
3 | B1014 Ramps | 75 | 25 | 100 | 60 | 51 | 30.6 | 15
38 | D3011 Oil Supply System | 50 | 75 | 50 | 59.25 | 51 | 30.2175 | 16
47 | D4024 Fire Hose Equipment | 100 | 75 | 50 | 83.75 | 36 | 30.15 | 17
19 | B3023 Gravity Roof Ventilators | 25 | 100 | 25 | 52.75 | 55 | 29.0125 | 18
21 | C1014 Site-Built Toilet Partitions | 100 | 25 | 100 | 72.25 | 40 | 28.9 | 19
7 | B2011 Exterior Wall Construction | 75 | 25 | 75 | 56.5 | 51 | 28.815 | 20
53 | D5035 Television Systems | 100 | 100 | 25 | 89.5 | 31 | 27.745 | 21
30 | C1031 Fabricated Toilet Partitions | 75 | 25 | 25 | 49.5 | 51 | 25.245 | 22
36 | C2021 Stair, Tread, and Landing Finishes | 75 | 50 | 100 | 69.25 | 36 | 24.93 | 23
59 | D5094 Other Special Systems & Devices | 75 | 75 | 100 | 78.5 | 31 | 24.335 | 24
22 | C1015 Site-Built Compartments Cubicles | 25 | 75 | 50 | 47 | 51 | 23.97 | 25
51 | D5022 Lighting Equipment | 25 | 75 | 25 | 43.5 | 55 | 23.925 | 26
37 | C2022 Stair Soffit Finishes | 75 | 50 | 75 | 65.75 | 36 | 23.67 | 27
23 | C1016 Interior Balustrades and Screens | 100 | 25 | 100 | 72.25 | 31 | 22.3975 | 28
44 | D4021 Standpipe Water Supply | 100 | 25 | 100 | 72.25 | 31 | 22.3975 | 29
55 | D5038 Security and Detection Systems | 100 | 50 | 25 | 71 | 31 | 22.01 | 30
28 | C1026 Internal hatches & Access doors | 50 | 25 | 75 | 44.25 | 49 | 21.6825 | 31
35 | C2014 Stair Handrails and Balustrades | 50 | 25 | 50 | 40.75 | 51 | 20.7825 | 32
16 | B3016 Gutters and Downspouts | 25 | 75 | 75 | 50.5 | 40 | 20.2 | 33
49 | D5012 Low Tension Service & Dist. | 50 | 100 | 25 | 65 | 31 | 20.15 | 34
4 | B1019 Other Floor Construction | 25 | 50 | 50 | 37.75 | 51 | 19.2525 | 35
40 | D3015 Hot Water Supply System | 25 | 50 | 50 | 37.75 | 51 | 19.2525 | 36
58 | D5092 Emergency Light & Power Systems | 100 | 25 | 25 | 61.75 | 31 | 19.1425 | 37
13 | B2039 Other Doors & Entrances | 50 | 50 | 75 | 53.5 | 31 | 16.585 | 38
20 | C1011 Fixed Partitions | 25 | 25 | 75 | 32 | 51 | 16.32 | 39
31 | C1032 Fabricated Compartments & Cubicles | 50 | 50 | 50 | 50 | 31 | 15.5 | 40
45 | D4022 Pumping Equipment | 100 | 100 | 75 | 96.5 | 16 | 15.44 | 41
25 | C1021 Interior Doors | 75 | 100 | 25 | 77.25 | 19 | 14.6775 | 42
11 | B2022 Curtain Walls | 25 | 25 | 50 | 28.5 | 51 | 14.535 | 43
33 | C1036 Closet Specialties | 50 | 50 | 25 | 46.5 | 31 | 14.415 | 44
5 | B1021 Flat Roof Construction | 50 | 25 | 50 | 40.75 | 31 | 12.6325 | 45
32 | C1033 Storage Shelving and Lockers | 100 | 50 | 75 | 78 | 16 | 12.48 | 46
26 | C1022 Interior Door Frames | 75 | 50 | 25 | 58.75 | 19 | 11.1625 | 47
46 | D4023 Standpipe Equipment | 75 | 50 | 75 | 65.75 | 16 | 10.52 | 48
12 | B2034 Overhead Doors | 50 | 75 | 50 | 59.25 | 16 | 9.48 | 49
52 | D5033 Telephone Systems | 25 | 25 | 25 | 25 | 36 | 9 | 50
60 | D5095 General Construction Items (Elect.) | 25 | 25 | 50 | 28.5 | 31 | 8.835 | 51
18 | B3022 Roof Hatches | 75 | 25 | 50 | 53 | 16 | 8.48 | 52
10 | B2021 Windows | 25 | 75 | 50 | 47 | 16 | 7.52 | 53
54 | D5037 Fire Alarm Systems | 50 | 50 | 25 | 46.5 | 16 | 7.44 | 54
29 | C1027 Door Painting & Decoration" | 25 | 50 | 75 | 41.25 | 16 | 6.6 | 55
24 | C1017 Interior Windows & Storefronts | 25 | 25 | 25 | 25 | 16 | 4 | 56
56 | D5039 Local Area Networks | 25 | 100 | 50 | 56.25 | 4 | 2.25 | 57
48 | D4031 Fire Extinguishers | 25 | 75 | 50 | 47 | 4 | 1.88 | 58
6 | B1022 Pitched Roof Construction | 50 | 25 | 50 | 40.75 | 4 | 1.63 | 59
14 | B3011 Roof Finishes | 25 | 50 | 50 | 37.75 | 4 | 1.51 | 60

## Capital Investment strategy✅
No. | Assets | ROF | Risk Rating | Replacement Cost | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | TPWC |  |  | Year | Number of assets
1 | D3012 Gas Supply System | 92.64 | 1 | 1855 | 1855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1855 | TPWC | 1564964.1217 | 2022 | 4
2 | B1012 Upper Floors Construction | 87.12 | 2 | 1308400 | 130840 | 127029.1262 | 123329.2488 | 119737.1347 | 116249.6453 | 112863.7333 | 109576.4401 | 106384.8933 | 103286.3042 | 100277.9653 | 1149574.4913 | AARI | 156496.4122 | 2023 | 2
3 | B1013 Balcony Floors Construction | 84.24 | 3 | 52220 | 0 | 50699.0291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50699.0291 | EUAC | -202670.0134 | 2024 | 5 | Interest rate | 0.05
4 | D3032 Direct Expansion Systems | 63.18 | 4 | 7065 | 7065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7065 |  |  | 2025 | 2 | Discount Rate | 0.03
5 | C1023 Interior Door Hardware | 54.91 | 5 | 21437.5 | 0 | 0 | 20206.8998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20206.8998 |  |  | 2026 | 4 | Inflation | 0.02
6 | D3021 Boilers | 51.3925 | 6 | 13755 | 13755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13755 |  |  | 2027 | 2 | Current Year | 2022
7 | C2011 Regular Stairs | 46.2825 | 7 | 2340.6 | 0 | 0 | 2206.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2206.24 |  |  | 2028 | 5 | Budget | 150000
8 | D5091 Grounding Systems | 45.12 | 8 | 35500 | 0 | 0 | 0 | 32487.5289 | 0 | 0 | 0 | 0 | 0 | 0 | 32487.5289 |  |  | 2029 | 4
9 | B2015 Balcony Walls & Handrails | 40.365 | 9 | 2513.9 | 0 | 0 | 2369.5919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2369.5919 |  |  | 2030 | 7
10 | B2016 Exterior Soffits | 38.755 | 10 | 1274.2 | 0 | 0 | 1201.0557 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1201.0557 |  |  | 2031 | 2
11 | D5021 Branch Wiring Devices | 36.505 | 11 | 7460 | 0 | 0 | 0 | 0 | 6628.1134 | 0 | 0 | 0 | 0 | 0 | 6628.1134
12 | B3013 Roof Insulation & Fill | 34.0075 | 12 | 9116.8 | 0 | 0 | 0 | 0 | 8100.1587 | 0 | 0 | 0 | 0 | 0 | 8100.1587
13 | B3021 Glazed Roof Openings | 32.66 | 13 | 69967 | 0 | 0 | 0 | 0 | 0 | 60354.1488 | 0 | 0 | 0 | 0 | 60354.1488
14 | D3024 Insulation | 30.805 | 14 | 24000 | 0 | 0 | 0 | 0 | 21323.6891 | 0 | 0 | 0 | 0 | 0 | 21323.6891
15 | B1014 Ramps | 30.6 | 15 | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 8374.8426 | 0 | 0 | 0 | 8374.8426
16 | D3011 Oil Supply System | 30.2175 | 16 | 950 | 0 | 0 | 0 | 0 | 0 | 0 | 795.61 | 0 | 0 | 0 | 795.61
17 | D4024 Fire Hose Equipment | 30.15 | 17 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 4187.4213 | 0 | 0 | 0 | 4187.4213
18 | B3023 Gravity Roof Ventilators | 29.0125 | 18 | 40626 | 0 | 0 | 0 | 0 | 0 | 0 | 34023.6354 | 0 | 0 | 0 | 34023.6354
19 | C1014 Site-Built Toilet Partitions | 28.9 | 19 | 3549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2885.6618 | 0 | 0 | 2885.6618
20 | B2011 Exterior Wall Construction | 28.815 | 20 | 134549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | D5035 Television Systems | 27.745 | 21 | 13956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11347.5051 | 0 | 0 | 11347.5051
22 | C1031 Fabricated Toilet Partitions | 25.245 | 22 | 36000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29271.2944 | 0 | 0 | 29271.2944
23 | C2021 Stair, Tread, and Landing Finishes | 24.93 | 23 | 513.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 405.1643 | 0 | 405.1643
24 | D5094 Other Special Systems & Devices | 24.335 | 24 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3157.6369 | 0 | 3157.6369
25 | C1015 Site-Built Compartments Cubicles | 23.97 | 25 | 72000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55182.0047 | 55182.0047
26 | D5022 Lighting Equipment | 23.925 | 26 | 23800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18787.9398 | 0 | 18787.9398
27 | C2022 Stair Soffit Finishes | 23.67 | 27 | 513.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 405.1643 | 0 | 405.1643
28 | C1016 Interior Balustrades and Screens | 22.3975 | 28 | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7894.0923 | 0 | 7894.0923
29 | D4021 Standpipe Water Supply | 22.3975 | 29 | 13200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10420.2019 | 0 | 10420.2019
30 | D5038 Security and Detection Systems | 22.01 | 30 | 37300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | C1026 Internal hatches & Access doors | 21.6825 | 31 | 750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | C2014 Stair Handrails and Balustrades | 20.7825 | 32 | 468.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | B3016 Gutters and Downspouts | 20.2 | 33 | 1678.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | D5012 Low Tension Service & Dist. | 20.15 | 34 | 799 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | B2022 Curtain Walls | 20 | 35 | 552040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | B1019 Other Floor Construction | 19.2525 | 36 | 60240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | D3015 Hot Water Supply System | 19.2525 | 37 | 9140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | D5092 Emergency Light & Power Systems | 19.1425 | 38 | 6760 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | B2039 Other Doors & Entrances | 16.585 | 39 | 137500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | C1011 Fixed Partitions | 16.32 | 40 | 294501.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | C1032 Fabricated Compartments & Cubicles | 15.5 | 41 | 36000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | D4022 Pumping Equipment | 15.44 | 42 | 3705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | C1021 Interior Doors | 14.6775 | 43 | 8000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | C1036 Closet Specialties | 14.415 | 44 | 19740 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | B1021 Flat Roof Construction | 12.6325 | 45 | 471744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | C1033 Storage Shelving and Lockers | 12.48 | 46 | 2335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | C1022 Interior Door Frames | 11.1625 | 47 | 22554.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | D4023 Standpipe Equipment | 10.52 | 48 | 11880 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | B2034 Overhead Doors | 9.48 | 49 | 1560 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | D5033 Telephone Systems | 9 | 50 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | D5095 General Construction Items (Elect.) | 8.835 | 51 | 8000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | B3022 Roof Hatches | 8.48 | 52 | 22460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | B2021 Windows | 7.52 | 53 | 22500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | D5037 Fire Alarm Systems | 7.44 | 54 | 39500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | C1027 Door Painting & Decoration" | 6.6 | 55 | 402.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | C1017 Interior Windows & Storefronts | 4 | 56 | 17077.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | D5039 Local Area Networks | 2.25 | 57 | 1592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | D4031 Fire Extinguishers | 1.88 | 58 | 7202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | B1022 Pitched Roof Construction | 1.63 | 59 | 30800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 | B3011 Roof Finishes | 1.51 | 60 | 10227409.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  |  |  | 153515 | 177728.1553 | 149313.0361 | 152224.6636 | 152301.6066 | 173217.8822 | 156957.9495 | 149889.3547 | 144356.5037 | 155459.97 | 1564964.1217

## Graph for Life cycle cost (hidden)
TYPES OF COMPONENTS | REPLACEMENT COST IN 10 YEAR | TOTAL REPLACEMENT COST
SHELL | 1364812.73 | 13156599
INTERIORS | 67207.5 | 604947.75
SERVICES | 51085 | 223654
Total | 1483105.23 | 13985200.75
Total Cost with Markups(35%) | 2002192.0605 | 18880021.0125