## Project Cost Breakdown
Concordia University - Gina Cody School of Engineering and Computer Science
BCEE 464/BLDG 6851 - Project Cost Estimating
Term Project - Fall 2022
Annex F - Project Cost Breakdown
Instructor: Mark-Anthony Sagaria, P.Eng., M.Eng., MFin, LL.M.
Date:
Team Member Names & ID:
Description | Pricing Notes | Quantity | Pricing Unit | Material Cost | Labor Cost | Equipment Cost | Sub Cost | Total Cost
03 00 00 Concrete | [7 empty] | 2586113.9197
03 10 00 Concrete Forming and Accessories | [7 empty] | 54199.08
03 11 00 Concrete Forming | [7 empty] | 54199.08
03 11 13 Formwork | [7 empty] | 54199.08
Strip Footings | Price from "Annex B - Broccolini Pricing Database" | 118.15 | sfca | 0 | 0 | 0 | 9 | 1063.35
Piers | Price from "Annex B - Broccolini Pricing Database" | 436.26 | sfca | 0 | 0 | 0 | 9 | 3926.34
Foundation Walls Standard | Price from "Annex B - Broccolini Pricing Database" | 5467.71 | sfca | 0 | 0 | 0 | 9 | 49209.39
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
03 20 00 Concrete Reinforcing | [7 empty] | 56856.96
03 21 00 Reinforcing Steel | [7 empty] | 56856.96
03 21 00 Reinforcing Steel | [7 empty] | 56856.96
Reinforcing Steel 10M S/I | Price from "Annex C - Reinforcing Steel Rate" | 400 | kg | 2.88 | 0 | 0 | 2.88 | 1152
Reinforcing Steel 15M S/I | Price from "Annex C - Reinforcing Steel Rate" | 12610 | kg | 2.88 | 0 | 0 | 2.88 | 36316.8
Reinforcing Steel 20M S/I | Price from "Annex C - Reinforcing Steel Rate" | 584 | kg | 2.88 | 0 | 0 | 2.88 | 1681.92
Reinforcing Steel 25M S/I | Price from "Annex C - Reinforcing Steel Rate" | 6148 | kg | 2.88 | 0 | 0 | 2.88 | 17706.24
Reinforcing Steel 30M S/I | Price from "Annex C - Reinforcing Steel Rate" | 0 | kg | 0 | 0 | 0 | 0 | 0
Reinforcing Steel 35M S/I | Price from "Annex C - Reinforcing Steel Rate" | 0 | kg | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
03 30 00 Cast-in-Place Concrete | [7 empty] | 777806.9432
03 31 00 Structural Concrete | [7 empty] | 777806.9432
03 31 00 Concrete Supply | [7 empty] | 777806.9432
25 MPA - Footing | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. Footing, continous, shallow, pumped - 03310570 | 3.7017 | m3 | 112 | 18.7 | 0.51 | 131.21 | 485.6969
25 MPA - Foundation Walls | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. Walls 200mm thk, direct chute - 03310570 | 5.7769 | m3 | 117 | 25 | 0.68 | 142.68 | 824.2421
25 MPA - Interior Augured Footings | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. deep continous footing, shallow, pumped - 03310570 | 129.4614 | m3 | 112 | 19.3 | 6.45 | 137.75 | 17833.3119
25 MPA - Slabs | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. Slabs of Grade, over 150mm thk, direct chute, pumped - 03310570 | 1235.3 | m3 | 81 | 13.65 | 0.37 | 95.02 | 117378.206
25 MPA with air - Perimeter Augured Footings | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. deep continous footing, shallow, pumped - 03310570 | 431.0367 | m3 | 112 | 19.3 | 6.45 | 137.75 | 59375.305
25 MPA with air - Foundation Walls | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. Walls 200mm thk, direct chute - 03310570 | 71.6418 | m3 | 117 | 25 | 0.68 | 142.68 | 10221.8456
25 MPA with air - Trench Footing | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. Footing, continous, shallow, pumped - 03310570 | 138.0154 | m3 | 112 | 18.7 | 0.51 | 131.21 | 18109.0013
25 MPA with air - Piers | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. | 7.8219 | m3 | 112 | 22 | 7.35 | 141.35 | 1105.6325
Environmental Cost, Fuel Surcharge & Carbon Tax | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. | 2022.7558 | m3 | 9 | 0 | 0 | 9 | 18204.8019
Steel Fibres 15kg/m3 | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. Labor and equipment cost included in concrete. | 18529.56 | kg | 27.5 | 0 | 0 | 27.5 | 509562.9
High Range Super Plasticizer (Required with Steel Fibres) | Material cost is based from Subtrade #2 from Concrete Tender Analysis. No marked-up added. Labor and equipment cost included in concrete. | 1235.3 | m3 | 20 | 0 | 0 | 20 | 24706
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
03 35 00 Concrete Finishing | [7 empty] | 146618.4365
03 35 00 Concrete Finishing | [7 empty] | 146618.4365
Floor Hardener Traprock 60lbs/100sf | Price from "Annex B - Broccolini Pricing Database" | 85321.83 | sf | 0 | 0 | 0 | 0.75 | 63991.3725
Pour / Finish 6" Slab on Grade | Price from "Annex B - Broccolini Pricing Database" | 85321.83 | sf | 0 | 0 | 0 | 0.7 | 59725.281
Sawcuts @ slab on grade | Price from "Annex B - Broccolini Pricing Database" | 17962 | lf | 0 | 0 | 0 | 0.8 | 14369.6
Wet Cure Slab on Grade > film | Price from "Annex B - Broccolini Pricing Database" | 85321.83 | sf | 0 | 0 | 0 | 0.1 | 8532.183
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
03 40 00 Precast Concrete | [7 empty] | 1550632.5
03 45 00 Precast Architectural Concrete | [7 empty] | 1550632.5
03 45 13 Faced Architectural Precast Concrete | [7 empty] | 1550632.5
Insulated Precast Concrete Panel System | Price from "Annex B - Broccolini Pricing Database" | 34458.5 | sf | 0 | 0 | 0 | 45 | 1550632.5
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
04 00 00 Masonry | [7 empty] | 15276.9321
04 20 00 Unit Masonry | [7 empty] | 15276.9321
04 22 00 Concrete Unit Masonry | [7 empty] | 15276.9321
04 22 00 Masonry | [7 empty] | 15276.9321
Fire-rated CMU Block 190mm - 2 hrs | Assume Reg, hollow, alternated reinforced, 8" thick-042210280300 | 1081.17 | sf | 6.98 | 7.15 | 0 | 14.13 | 15276.9321
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
05 00 00 Metals | [7 empty] | 1115572.1155
05 10 00 Structural Metal Framing | [7 empty] | 886645.8979
05 12 00 Structural Steel Framing | [7 empty] | 886645.8979
05 12 00 Structural Steel | [7 empty] | 886645.8979
Column HSS 254x254x10 | See Appendix for conversion process from RSmeans to kg | 15912.204 | kg | 4.637 | 0.21008 | 0.1287 | 4.9758 | 79175.5324
Column HSS 254x254x13 | See Appendix for conversion process from RSmeans to kg | 5623.181 | kg | 3.5754 | 0.16199 | 0.099235 | 3.8366 | 21573.9636
Column HSS 305x305x10 | See Appendix for conversion process from RSmeans to kg | 51026.0256 | kg | 3.832 | 0.17361 | 0.10636 | 4.1119 | 209815.1609
Continuous Angle L127x76x10 | See Appendix for conversion process from RSmeans to kg | 6022.169 | kg | 1.43 | 5.9 | 0.54 | 7.87 | 47394.47
Bracing Angles L76x76x6 | See Appendix for conversion process from RSmeans to kg | 1498.9814 | kg | 0.055535 | 0.36468 | 0.033691 | 0.45391 | 680.3966
Girts HSS 203x203x6 | See Appendix for conversion process from RSmeans to kg | 4878.951 | kg | 4.6332 | 0.37206 | 0.22815 | 5.2334 | 25533.5765
Girts HSS 203x203x10 | See Appendix for conversion process from RSmeans to kg | 2639.9538 | kg | 3.1797 | 0.25534 | 0.15657 | 3.5916 | 9481.5511
Girts HSS 203x203x13 | See Appendix for conversion process from RSmeans to kg | 1143.4256 | kg | 2.4536 | 0.19703 | 0.12082 | 2.7715 | 3168.9795
Girts W360x33 | See Appendix for conversion process from RSmeans to kg | 1579.7922 | kg | 2.7204 | 0.44073 | 0.269 | 3.4301 | 5418.8313
X Bracing HSS 203x203x6 | See Appendix for conversion process from RSmeans to kg | 5050.007 | kg | 4.6332 | 0.37206 | 0.22815 | 5.2334 | 26428.7835
X Bracing HSS 254x254x13 | See Appendix for conversion process from RSmeans to kg | 1932.2659 | kg | 4.5541 | 0.20633 | 0.1264 | 4.8868 | 9442.5944
Beam W200x27 | See Appendix for conversion process from RSmeans to kg | 3623.7579 | kg | 3.2143 | 0.54511 | 0.33271 | 4.0921 | 14828.7988
Beam W250x33 | See Appendix for conversion process from RSmeans to kg | 4807.496 | kg | 2.7204 | 0.44073 | 0.269 | 3.4301 | 16490.1498
Beam W360x33 | See Appendix for conversion process from RSmeans to kg | 4522.4998 | kg | 2.7204 | 0.44073 | 0.269 | 3.4301 | 15512.5867
Beam W410x39 | See Appendix for conversion process from RSmeans to kg | 1364.7676 | kg | 2.7249 | 0.22365 | 0.13625 | 3.0848 | 4210.08
Beam W410x46 | See Appendix for conversion process from RSmeans to kg | 337.491 | kg | 2.7273 | 0.20996 | 0.12771 | 3.0649 | 1034.388
Beam W460x52 | See Appendix for conversion process from RSmeans to kg | 1638.7668 | kg | 2.7203 | 0.25096 | 0.11303 | 3.0843 | 5054.434
Beam W460x60 | See Appendix for conversion process from RSmeans to kg | 508.8231 | kg | 2.7136 | 0.21943 | 0.098827 | 3.0318 | 1542.663
Beam W760x134 | See Appendix for conversion process from RSmeans to kg | 7505.2174 | kg | 2.9985 | 0.078336 | 0.035457 | 3.1123 | 23358.442
Beam W840x176 | See Appendix for conversion process from RSmeans to kg | 37251.9321 | kg | 2.7304 | 0.060865 | 0.027531 | 2.8188 | 105004.6782
Beam W920x201 | See Appendix for conversion process from RSmeans to kg | 25203.591 | kg | 2.7363 | 0.053483 | 0.024129 | 2.8139 | 70921.1496
Beam W920x238 | See Appendix for conversion process from RSmeans to kg | 4274.9441 | kg | 2.9004 | 0.045818 | 0.020723 | 2.9669 | 12683.4122
OWSJ 900mm | See Appendix for conversion process from RSmeans to kg | 94436.6372 | kg | 1.3771 | 0.20031 | 0.096397 | 1.6738 | 158068.1875
ALLOWANCE - Base plates, gusset plates, connections, bolts, etc. (2% of total structural steel weight) | RSmeans Industrial building, 1 storey - 051233.77 | 5655.66 | kg | 2.925 | 0.4 | 0.18 | 3.505 | 19823.0883
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
05 30 00 Metal Decking | [7 empty] | 228926.2176
05 31 00 Steel Decking | [7 empty] | 228926.2176
05 31 23 Steel Decking | [7 empty] | 228926.2176
Metal Roof Deck @ Main Roof | Open tupe, 1-1/2 deep, Type B, wide rib, galv. 16 gauge, Over 500 squares-053123503100 | 91119.47 | sf | 2.09 | 0.37 | 0.03 | 2.49 | 226887.4803
Metal Roof Deck @ Entrance Canopies | Open tupe, 1-1/2 deep, Type B, wide rib, galv. 16 gauge, Over 500 squares-053123503100 | 818.77 | sf | 2.09 | 0.37 | 0.03 | 2.49 | 2038.7373
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
06 00 00 Wood, Plastics, and Composites | [7 empty] | 4632.9556
06 10 00 Rough Carpentry | [7 empty] | 4632.9556
06 11 00 Wood Framing | [7 empty] | 4632.9556
06 11 10 Blocking | [7 empty] | 4632.9556
2' x 10' x 12' @ Parapet | Miscellaneous to steel construction 2" x 10" - 061110.02 Blocking | 1272.79 | lf | 1.11 | 2.53 | 0 | 3.64 | 4632.9556
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
07 00 00 Thermal and Moisture Protection | [7 empty] | 323964.3696
07 40 00 Roofing and Siding Panels | [7 empty] | 119521.8172
07 42 13 Metal Wall Panels | [7 empty] | 119521.8172
07 42 13.20 Aluminum Siding Panels | [7 empty] | 8621.2188
Aluminum Composite Panel Alucobond System SL2000 - Color Red @ Canopy | Aluminum siding, industrial type, corrugated, on steel frame, painted, 0.24" thick- 074213200900 | 694.14 | sf | 6.33 | 2.88 | 0 | 6.21 | 4310.6094
Aluminum Soffits Alucobond System SL2000 - Color Red @ Canopy | Aluminum siding, industrial type, corrugated, on steel frame, painted, 0.24" thick- 074213200900 | 694.14 | sf | 6.33 | 2.88 | 0 | 6.21 | 4310.6094
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
07 42 13.30 Steel Siding | [7 empty] | 110900.5984
Insulated Metal Panels (Type W2) - Grey | Factory sandwich panel, 26ga., 1" insulation, colored 2 sides-074213301500 | 5282.72 | sf | 12 | 5.86 | 0 | 17.86 | 94349.3792
Insulated Metal Panels (Type W2) - White | Factory sandwich panel, 26ga., 1" insulation, colored 2 sides-074213301500 | 926.72 | sf | 12 | 5.86 | 0 | 17.86 | 16551.2192
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
07 50 00 Membrane Roofing | [7 empty] | 198984.786
07 51 00 Built-Up Bituminous Roofing | [7 empty] | 198984.786
07 51 13.20 Built-Up Roofing Systems | [7 empty] | 198984.786
Roof R1 (Bldg) - 4 ply built up roofing over R30 rigid insulation over vapor retarder - Note 301/A3.2 | Asphalt flood coat, smooth surface, 4 plies, #15 asphalt, mopped-075113200500 | 85321.83 | sf | 1.15 | 0.955 | 0.205 | 2.31 | 197093.4273
Roof R2 (Canopy) - Single ply membrane flashing | Assume Asphalt flood coat, smooth surface, 4 plies, #15 asphalt, mopped-075113200500 | 818.77 | sf | 1.15 | 0.955 | 0.205 | 2.31 | 1891.3587
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
07 65 00 Flexible Flashing | [7 empty] | 5457.7664
07 65 10 Sheet Metal Flashing | [7 empty] | 5457.7664
07 65 10 Sheet Metal Flashing | [7 empty] | 5457.7664
Metal cap flashing w/ cont. metal starter strip @ IMP Parapet | Assume galvanized steel, 20ga.-076510109320 | 509.12 | sf | 2.16 | 3.2 | 0 | 5.36 | 2728.8832
Metal cap flashing w/ cont. metal starter strip @ Parapet Precast | Assume galvanized steel, 20ga.-076510109320 | 509.12 | sf | 2.16 | 3.2 | 0 | 5.36 | 2728.8832
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
08 00 00 Openings | [7 empty] | 1064245.458
08 10 00 Doors and Frames | [7 empty] | 5487.57
08 11 00 & 08 13 00 Metal Doors and Frames | [7 empty] | 5487.57
08 11 13 & 08 13 13 Metal Doors and Frames | [7 empty] | 5487.57
Hollow Metal Door - 3-2 x 7-0 | Hollow metal door for commercial use, 1-3/8" thick 20ga., 3'x7'-081313130100 | 9 | ea | 347.32 | 57.6 | 0 | 404.92 | 3644.28
Hollow Metal Frame - 3-2 x 7-0 | Hollow metal frame, 16ga., up to 5-3/4" deep, 3'x7'-081213130100 | 9 | ea | 143.5 | 61.31 | 0 | 204.81 | 1843.29
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
08 30 00 Specialty Doors and Frames | [7 empty] | 41413
08 33 00 Coiling Doors and Grilles | [7 empty] | 41413
08 33 23 Sectional Overhead Coiling Doors | [7 empty] | 41413
Overhead Door 12 x 14' Type SD2 | Steel Rolling door, 20 ga., 14'x14' high, incl. hardware-083323100500 | 2 | ea | 2947.65 | 1602.53 | 0 | 4550.18 | 9100.36
Overhead Door 9 x 10' Type SD1 | Steel Rolling door, 20 ga., 10'x10' high, incl. hardware-083323100100 | 12 | ea | 1782.3 | 910.42 | 0 | 2692.72 | 32312.64
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
08 40 00 Entrances, Storefronts, and Curtain Walls | [7 empty] | 509645.824
08 42 00 Entrances | [7 empty] | 10347.76
08 42 26 All-Glass Entrances | [7 empty] | 10347.76
Aluminum Entrance Door (Double Door) w/ Tempered Glazing & Hardware | Glass door, tempered, 1/2" thick, 3'x7' opening, incl. hardware-084226100020 | 4 | ea | 2015.78 | 571.16 | 0 | 2586.94 | 10347.76
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
08 44 00 Curtain Wall and Glazed Assemblies | [7 empty] | 499298.064
08 44 13 Glazed Aluminum Curtain Walls | [7 empty] | 499298.064
Alum Curtain Wall 1" Insulated Tempered Glass - Vision & Spandrel Panels | Assume double glazed-084413100150 | 6712.8 | sf | 59.39 | 14.99 | 0 | 74.38 | 499298.064
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
08 70 00 Hardware | [7 empty] | 8401
08 71 00 Door Hardware | [7 empty] | 8401
08 71 20 Hardware | [7 empty] | 8401
Hinges Per Door | Assume half surface, half mortise, or full surface, average frequency 5"x5"- 087120900100 | 27 | ea | 43.56 | 0 | 0 | 43.56 | 1176.12
Door Stop W1276 CCS | Assume floor or wall mounted-087120500020 | 9 | ea | 35.76 | 16.24 | 0 | 52 | 468
Threshold 200D | Assume rubber 5-1/2"-087120650700 | 13 | ea | 40.35 | 26.08 | 0 | 66.43 | 863.59
Standard Door Closer - 8581 BF | Assume adjustable backcheck, 3 way mount, non sized, hold open arm-087120300240 | 9 | ea | 201.74 | 86.59 | 0 | 288.33 | 2594.97
Door Shoe 216DV | Assume as mechanical seal weatherstripping-087125101100 | 9 | ea | 25.22 | 173.18 | 0 | 198.4 | 1785.6
Door Seals S88 | Assume as aluminum door sweep threshold weatherstripping-087125103650 | 9 | ea | 13.66 | 20.66 | 0 | 34.32 | 308.88
Latch Guard LP2 | Assume as a dead lock night latch-087120411200 | 9 | ea | 81.61 | 52.15 | 0 | 133.76 | 1203.84
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
09 00 00 Finishes | [7 empty] | 7403.868
09 20 00 Plaster and Gypsum Board | [7 empty] | 5390.676
09 21 00 Plaster and Gypsum Board Assemblies | [7 empty] | 5390.676
09 21 16 Gypsum Board Assemblies | [7 empty] | 5390.676
Drywall Partition type P2 - 2hr separation | 2 layer, 2hour, both side, 3-5/8" wide, 24" O.C., 8' to 12' high, gypsum drywall-092116336800 | 786.96 | sf | 2.85 | 4 | 0 | 6.85 | 5390.676
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
09 90 00 Painting and Coating | [7 empty] | 2013.192
09 91 00 Painting | [7 empty] | 2013.192
09 91 23 Interior Painting | [7 empty] | 2013.192
Paint Door & Frame 2 coats - Single door | 2 coat paint, both side-099123350190 | 9 | ea | 15.54 | 59.5 | 0 | 75.04 | 675.36
Drywall Paint 2 coats @ P2 wall type (both sides) | 2 coat paint, smooth finish-099123720800 | 1573.92 | sf | 14 | 0.71 | 0 | 0.85 | 1337.832
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
11 00 00 Equipment | [7 empty] | 121932
11 10 00 Vehicle and Pedestrian Equipment | [7 empty] | 121932
11 13 00 Loading Dock Equipment | [7 empty] | 121932
11 13 19 Stationary Loading Dock Equipment | [7 empty] | 121932
Loading Dock Equipment - hydraulic | Price based on RS Means 2011 online free trial version; 111319 - Hydraulic, 9.1 metric capacity, 2134mm x 2438mm | 12 | ea | 9325 | 735 | 101 | 10161 | 121932
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
Other (Specify) |  |  |  | 0 | 0 | 0 | 0 | 0
SUBTOTAL 1: DIRECT COSTS | [7 empty] | 5117209.6185
General Conditions (4.5%) | [7 empty] | 230274.4328
SUBTOTAL 2 | [7 empty] | 5347484.0513
Construction Contingency (3%) | [7 empty] | 160424.5215
SUBTOTAL 3 | [7 empty] | 5507908.5728
Fee (5%) | [7 empty] | 275395.4286
GRAND TOTAL | [7 empty] | 5783304.0015

## 05 12 00 Structural Steel Frami
Mark | Section | Type | T.O.S. | B.O.P. | Column 1 | Column 2 | Length | Qty | Length | Dwg No. |  | Section Size | Length (m) | Unit Weight (kg/m) | Total Weight (kg) | RSmeans Description | RSmeans Code | Qty | Unit | Material Cost | Labor Cost | Equip Cost | New Material Cost | New Labor Cost | New Equipment Cost
4C8 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Column HSS 254x254x10 | 222.86 | 71.4 | 15912.204 | Struct tubing 250x250 | 051223.13 | 60 | ea | 1225 | 55.5 | 34 | 4.637 | 0.21008 | 0.1287
4C10 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Column HSS 254x254x13 | 60.7255 | 92.6 | 5623.181 | Struct tubing 250x250 | 051223.13 | 16 | ea | 1225 | 55.5 | 34 | 3.5754 | 0.16199 | 0.099235
4C11 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Column HSS 305x305x10 | 590.579 | 86.4 | 51026.0256 | Struct tubing 250x250 | 051223.13 | 160 | ea | 1225 | 55.5 | 34 | 3.832 | 0.17361 | 0.10636
4C16 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Continuous Angle L127x76x10 | 415.322 | 14.5 | 6022.169 | Angle framing, 100 or larger |  | 6022.169 | kg | 1.43 | 5.9 | 0.54 | 1.43 | 5.9 | 0.54
4C19 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Bracing Angles L76x76x6 | 205.3399 | 7.3 | 1498.9814 | Angle framing less than 100 |  | 1498.9814 | kg | 1.5 | 9.85 | 0.91 | 0.055535 | 0.36468 | 0.033691
4C17 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Girts HSS 203x203x6 | 126.726 | 38.5 | 4878.951 | Struct tubing 200x200 | 051223.13 | 34 | ea | 660 | 53 | 32.5 | 4.6332 | 0.37206 | 0.22815
4C9 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Girts HSS 203x203x10 | 47.058 | 56.1 | 2639.9538 | Struct tubing 200x200 | 051223.13 | 13 | ea | 660 | 53 | 32.5 | 3.1797 | 0.25534 | 0.15657
4C12 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Girts HSS 203x203x13 | 15.728 | 72.7 | 1143.4256 | Struct tubing 200x200 | 051223.13 | 4 | ea | 660 | 53 | 32.5 | 2.4536 | 0.19703 | 0.12082
4C13 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Girts W360x33 | 48.018 | 32.9 | 1579.7922 | W 250 x 33 | 051223.75 | 48.018 | m | 89.5 | 14.5 | 8.85 | 2.7204 | 0.44073 | 0.269
4C18 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | X Bracing HSS 203x203x6 | 131.169 | 38.5 | 5050.007 | Struct tubing 200x200 | 051223.13 | 35 | ea | 660 | 53 | 32.5 | 4.6332 | 0.37206 | 0.22815
4C14 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | X Bracing HSS 254x254x13 | 26.5786 | 72.7 | 1932.2659 | Struct tubing 250x250 | 051223.13 | 7 | ea | 1225 | 55.5 | 34 | 4.5541 | 0.20633 | 0.1264
2C12 | Column HSS 254x254x13 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W200x27 | 136.2315 | 26.6 | 3623.7579 | W 300 x 31 | 051223.75 | 136.2315 | m | 85.5 | 14.5 | 8.85 | 3.2143 | 0.54511 | 0.33271
2C9 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W250x33 | 146.1245 | 32.9 | 4807.496 | W 250 x 33 | 051223.75 | 146.1245 | m | 89.5 | 14.5 | 8.85 | 2.7204 | 0.44073 | 0.269
2C7 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W360x33 | 137.462 | 32.9 | 4522.4998 | W 250 x 33 | 051223.75 | 137.462 | m | 89.5 | 14.5 | 8.85 | 2.7204 | 0.44073 | 0.269
2C13 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W410x39 | 35.084 | 38.9 | 1364.7676 | W 410 x 39 | 051223.75 | 35.084 | m | 106 | 8.7 | 5.3 | 2.7249 | 0.22365 | 0.13625
2C16 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W410x46 | 7.305 | 46.2 | 337.491 | W 410 x 46 | 051223.75 | 7.305 | m | 126 | 9.7 | 5.9 | 2.7273 | 0.20996 | 0.12771
2C5 | Column HSS 254x254x13 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W460x52 | 31.394 | 52.2 | 1638.7668 | W 460 x 52 | 051223.75 | 31.394 | m | 142 | 13.1 | 5.9 | 2.7203 | 0.25096 | 0.11303
2C10 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W460x60 | 8.523 | 59.7 | 508.8231 | W 460 x 60 | 051223.75 | 8.523 | m | 162 | 13.1 | 5.9 | 2.7136 | 0.21943 | 0.098827
2C14 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W760x134 | 56.261 | 133.4 | 7505.2174 | W 760 x 147 | 051223.75 | 56.261 | m | 400 | 10.45 | 4.73 | 2.9985 | 0.078336 | 0.035457
2C11 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W840x176 | 211.8995 | 175.8 | 37251.9321 | W 840 x 176 | 051223.75 | 211.8995 | m | 480 | 10.7 | 4.84 | 2.7304 | 0.060865 | 0.027531
2C15 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W920x201 | 125.391 | 201 | 25203.591 | W 920 x 201 | 051223.75 | 125.391 | m | 550 | 10.75 | 4.85 | 2.7363 | 0.053483 | 0.024129
1C19 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | Beam W920x238 | 17.9695 | 237.9 | 4274.9441 | W 920 x 253 | 051223.75 | 17.9695 | m | 690 | 10.9 | 4.93 | 2.9004 | 0.045818 | 0.020723
1C8 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | OWSJ 900mm | 3604.4518 | 26.2 | 94436.6372 | 30K12 | 0512119.12 | 11822.6019 | lf | 11 | 1.6 | 0.77 | 1.3771 | 0.20031 | 0.096397
1C10 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1 |  | ALLOWANCE - Base plates, gusset plates, connections, bolts, etc. (2% of total structural steel weight) |  |  | 5655.6576
1C17 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C16 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C17 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C9 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C11 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C18 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C12 | Column HSS 254x254x13 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C6 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C13 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C14 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C7 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C15 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C7 | Column HSS 254x254x13 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C11 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C10 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C9 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C8 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C2 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C4 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C5 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C3 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C6 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C3 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C6 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C3 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C6 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C4 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C3 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C4 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C5 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C6 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C7 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C15 | Column HSS 305x305x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C1 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C12 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C1 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3C12 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C2 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C1 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
4C2 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C5 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C4 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C3 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C4 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
2C8 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
2C3 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
2C4 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C2 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C1 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
1C20 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
2C2 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
2C1 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
2C6 | Column HSS 254x254x10 | Column | 10820 |  |  |  | 11143 | 1 | 11.143 | S1
3B14 | Beam W250x33 | Beam | 8230 |  | 305 | 305 | 7925 | 1 | 7.925 |  | W/ CA
3B15 | Beam W250x33 | Beam | 8229 |  | 305 | 305 | 7924 | 1 | 7.924 |  | W/ CA
3B12 | Beam W250x33 | Beam | 8230 |  | 305 | 305 | 7925 | 1 | 7.925 |  | W/ CA
3B13 | Beam W250x33 | Beam | 8229 |  | 305 | 305 | 7924 | 1 | 7.924 |  | W/ CA
3B12 | Beam W250x33 | Beam | 8230 |  | 305 | 305 | 7925 | 1 | 7.925 |  | W/ CA
3B13 | Beam W250x33 | Beam | 8229 |  | 305 | 305 | 7924 | 1 | 7.924 |  | W/ CA
3B12 | Beam W250x33 | Beam | 8230 |  | 305 | 305 | 7925 | 1 | 7.925 |  | W/ CA
3B13 | Beam W250x33 | Beam | 8229 |  | 305 | 305 | 7924 | 1 | 7.924 |  | W/ CA
4B20 | Beam W250x33 | Beam | 8230 |  | 305 | 305 | 7925 | 1 | 7.925 |  | W/ CA
4B21 | Beam W250x33 | Beam | 8229 |  | 305 | 305 | 7924 | 1 | 7.924 |  | W/ CA
4B20 | Beam W250x33 | Beam | 8230 |  | 305 | 305 | 7925 | 1 | 7.925 |  | W/ CA
4B21 | Beam W250x33 | Beam | 8229 |  | 305 | 305 | 7924 | 1 | 7.924 |  | W/ CA
4B23 | Beam W250x33 | Beam | 8230 |  | 305 | 305 | 7925 | 1 | 7.925 |  | W/ CA
4B22 | Beam W250x33 | Beam | 8229 |  | 305 | 305 | 7924 | 1 | 7.924 |  | W/ CA
4B8 | Beam W460x60 | Beam | 8828 |  | 305 | 305 | 8523 | 1 | 8.523 |  | W/ CA
4B3 | Beam W360x33 | Beam | 5498 |  | 305 | 305 | 5193 | 1 | 5.193 |  | W/ CA
4B18 | Beam W200x27 | Beam | 2763 |  | 305 | 305 | 2458 | 1 | 2.458 |  | W/ CA
4B16 | Beam W200x27 | Beam | 2381 |  | 305 | 305 | 2076 | 1 | 2.076 |  | W/ CA
4B17 | Beam W200x27 | Beam | 5364 |  | 305 | 305 | 5059 | 1 | 5.059 |  | W/ CA
4B19 | Beam W200x27 | Beam | 4723 |  | 305 | 305 | 4418 | 1 | 4.418 |  | W/ CA
4B2 | Beam W460x52 | Beam | 7816 |  | 305 | 305 | 7511 | 1 | 7.511 |  | W/ CA
4B7 | Beam W460x52 | Beam | 8463 |  | 305 | 305 | 8158 | 1 | 8.158 |  | W/ CA
4B6 | Beam W460x52 | Beam | 8168 |  | 305 | 305 | 7863 | 1 | 7.863 |  | W/ CA
4B5 | Beam W460x52 | Beam | 8167 |  | 305 | 305 | 7862 | 1 | 7.862 |  | W/ CA
4B1 | Beam W250x33 | Beam | 4666 |  | 305 | 305 | 4361 | 1 | 4.361 |  | W/ CA
4B4 | Beam W360x33 | Beam | 6402 |  | 305 | 305 | 6097 | 1 | 6.097 |  | W/ CA
4B9 | Beam W360x33 | Beam | 6681 |  | 305 | 254 | 6401.5 | 1 | 6.4015 |  | W/ CA
2B20 | Beam W410x39 | Beam | 7910 |  | 254 | 305 | 7630.5 | 1 | 7.6305 |  | W/ CA
2B19 | Beam W410x39 | Beam | 8067 |  | 305 | 305 | 7762 | 1 | 7.762 |  | W/ CA
2B17 | Beam W360x33 | Beam | 8025 |  | 305 | 305 | 7720 | 1 | 7.72 |  | W/ CA
2B18 | Beam W360x33 | Beam | 6116 |  | 305 | 305 | 5811 | 1 | 5.811 |  | W/ CA
2B16 | Beam W360x33 | Beam | 6074 |  | 305 | 254 | 5794.5 | 1 | 5.7945 |  | W/ CA
2B11 | Beam W250x33 | Beam | 8724 |  | 254 | 305 | 8444.5 | 1 | 8.4445 |  | W/ CA
2B15 | Beam W250x33 | Beam | 8229 |  | 305 | 305 | 7924 | 1 | 7.924 |  | W/ CA
2B13 | Beam W250x33 | Beam | 8230 |  | 305 | 305 | 7925 | 1 | 7.925 |  | W/ CA
2B12 | Beam W200x27 | Beam | 5922 |  | 305 | 305 | 5617 | 1 | 5.617 |  | W/ CA
2B14 | Beam W200x27 | Beam | 5922 |  | 305 | 305 | 5617 | 1 | 5.617 |  | W/ CA
1B7 | Beam W760x134 | Beam | 5163 |  | 305 | 305 | 4858 | 1 | 4.858 |  | W/ CA
1B6 | Beam W200x27 | Beam | 3955 |  | 305 | 305 | 3650 | 1 | 3.65 |  | W/ CA
1B9 | Beam W200x27 | Beam | 5316 |  | 305 | 305 | 5011 | 1 | 5.011 |  | W/ CA
1B11 | Beam W200x27 | Beam | 6640 |  | 305 | 305 | 6335 | 1 | 6.335 |  | W/ CA
1B11 | Beam W200x27 | Beam | 6640 |  | 305 | 305 | 6335 | 1 | 6.335 |  | W/ CA
1B9 | Beam W200x27 | Beam | 5316 |  | 305 | 305 | 5011 | 1 | 5.011 |  | W/ CA
1B6 | Beam W200x27 | Beam | 3955 |  | 305 | 305 | 3650 | 1 | 3.65 |  | W/ CA
1B10 | Beam W760x134 | Beam | 5163 |  | 305 | 305 | 4858 | 1 | 4.858 |  | W/ CA
1B4 | Beam W200x27 | Beam | 2655 |  | 305 | 254 | 2375.5 | 1 | 2.3755 |  | W/ CA
1B3 | Beam W410x39 | Beam | 7688 |  | 254 | 305 | 7408.5 | 1 | 7.4085 |  | W/ CA
1B4 | Beam W410x46 | Beam | 7610 |  | 305 | 305 | 7305 | 1 | 7.305 |  | W/ CA
1B5 | Beam W250x33 | Beam | 6832 |  | 305 | 305 | 6527 | 1 | 6.527 |  | W/ CA
1B1 | Beam W360x33 | Beam | 6836 |  | 305 | 305 | 6531 | 1 | 6.531 |  | W/ CA
1B2 | Beam W360x33 | Beam | 6837 |  | 305 | 305 | 6532 | 1 | 6.532 |  | W/ CA
3B16 | Beam W410x39 | Beam | 6896 |  | 305 | 254 | 6616.5 | 1 | 6.6165 |  | W/ CA
3B3 | Beam W360x33 | Beam | 5666 |  | 254 | 305 | 5386.5 | 1 | 5.3865 |  | W/ CA
3B4 | Beam W360x33 | Beam | 5866 |  | 305 | 305 | 5561 | 1 | 5.561 |  | W/ CA
3B2 | Beam W360x33 | Beam | 6096 |  | 305 | 305 | 5791 | 1 | 5.791 |  | W/ CA
3B5 | Beam W360x33 | Beam | 6096 |  | 305 | 305 | 5791 | 1 | 5.791 |  | W/ CA
3B1 | Beam W360x33 | Beam | 6096 |  | 305 | 305 | 5791 | 1 | 5.791 |  | W/ CA
3B8 | Beam W840x176 | Beam | 15488 |  | 305 |  | 15335.5 | 1 | 15.3355
3B6 | Beam W840x176 | Beam | 15488 |  | 305 |  | 15335.5 | 1 | 15.3355
3B7 | Beam W840x176 | Beam | 15488 |  | 305 |  | 15335.5 | 1 | 15.3355
3B6 | Beam W840x176 | Beam | 15488 |  | 305 |  | 15335.5 | 1 | 15.3355
4B12 | Beam W840x176 | Beam | 15488 |  | 305 |  | 15335.5 | 1 | 15.3355
4B10 | Beam W840x176 | Beam | 15488 |  | 305 |  | 15335.5 | 1 | 15.3355
4B11 | Beam W840x176 | Beam | 15488 |  | 305 |  | 15335.5 | 1 | 15.3355
3B10 | Beam W920x201 | Beam | 18040 |  |  | 254 | 17913 | 1 | 17.913
3B9 | Beam W920x201 | Beam | 18040 |  |  | 254 | 17913 | 1 | 17.913
3B11 | Beam W920x201 | Beam | 18040 |  |  | 254 | 17913 | 1 | 17.913
3B9 | Beam W920x201 | Beam | 18040 |  |  | 254 | 17913 | 1 | 17.913
4B14 | Beam W920x201 | Beam | 18040 |  |  | 254 | 17913 | 1 | 17.913
4B13 | Beam W920x201 | Beam | 18040 |  |  | 254 | 17913 | 1 | 17.913
4B15 | Beam W920x201 | Beam | 18040 |  |  | 254 | 17913 | 1 | 17.913
1B17 | Beam W920x238 | Beam | 18249 |  | 254 | 305 | 17969.5 | 1 | 17.9695
1B15 | Beam W840x176 | Beam | 18040 |  | 254 |  | 17913 | 1 | 17.913
1B18 | Beam W840x176 | Beam | 18040 |  | 254 |  | 17913 | 1 | 17.913
1B16 | Beam W840x176 | Beam | 18040 |  | 254 |  | 17913 | 1 | 17.913
2B5 | Beam W840x176 | Beam | 18040 |  | 254 |  | 17913 | 1 | 17.913
2B6 | Beam W840x176 | Beam | 18040 |  | 254 |  | 17913 | 1 | 17.913
2B4 | Beam W840x176 | Beam | 15240 |  | 254 | 254 | 14986 | 1 | 14.986
1B14 | Beam W760x134 | Beam | 9431 |  |  |  | 9431 | 1 | 9.431
1B12 | Beam W760x134 | Beam | 9431 |  |  | 305 | 9278.5 | 1 | 9.2785
1B13 | Beam W760x134 | Beam | 9431 |  |  | 305 | 9278.5 | 1 | 9.2785
2B3 | Beam W760x134 | Beam | 9431 |  |  | 305 | 9278.5 | 1 | 9.2785
2B2 | Beam W760x134 | Beam | 9431 |  |  | 305 | 9278.5 | 1 | 9.2785
2B1 | Beam W410x39 | Beam | 5819 |  |  | 305 | 5666.5 | 1 | 5.6665
3M1 | Bracing Angles L76x76x6 | Beam | 2761.9591 |  |  |  | 2761.9591 | 4 | 11.0478
3M2 | Bracing Angles L76x76x6 | Beam | 2761.9591 |  |  |  | 2761.9591 | 4 | 11.0478
4M8 | Bracing Angles L76x76x6 | Beam | 2873.682 |  |  |  | 2873.682 | 4 | 11.4947
4M16 | Bracing Angles L76x76x6 | Beam | 2873.682 |  |  |  | 2873.682 | 4 | 11.4947
1B27 | Girts W360x33 | Beam | 5316 |  | 305 | 305 | 5011 | 1 | 5.011
1B29 | Girts W360x33 | Beam | 6640 |  | 305 | 305 | 6335 | 1 | 6.335
1B30 | Girts W360x33 | Beam | 6640 |  | 305 | 305 | 6335 | 1 | 6.335
1B28 | Girts W360x33 | Beam | 5316 |  | 305 | 305 | 5011 | 1 | 5.011
1B26 | Beam W360x33 | Beam | 1900 |  |  |  | 1900 | 1 | 1.9 |  | W/ CA
1B25 | Beam W360x33 | Beam | 1900 |  |  |  | 1900 | 1 | 1.9 |  | W/ CA
1B32 | Beam W360x33 | Beam | 9192 |  |  |  | 9192 | 1 | 9.192 |  | W/ CA
1B31 | Beam W360x33 | Beam | 9192 |  |  |  | 9192 | 1 | 9.192 |  | W/ CA
MC1 | Beam W360x33 | Beam | 1900 |  | 305 |  | 1747.5 | 3 | 5.2425
1B24 | Beam W200x27 | Beam | 1900 |  |  |  | 1900 | 12 | 22.8
PM2 | Bracing Angles L76x76x6 | Beam | 18592 |  |  |  | 18592 | 1 | 18.592
4B25 | Girts W360x33 | Beam | 5364 |  | 305 | 305 | 5059 | 1 | 5.059
4B26 | Girts W360x33 | Beam | 4723 |  | 305 | 305 | 4418 | 1 | 4.418
4B28 | Beam W360x33 | Beam | 9175 |  | 305 | 305 | 8870 | 1 | 8.87 |  | W/ CA
4B31 | Beam W360x33 | Beam | 1900 |  | 305 | 305 | 1595 | 1 | 1.595 |  | W/ CA
4B30 | Beam W200x27 | Beam | 1900 |  | 305 | 305 | 1595 | 5 | 7.975
MC1 | Beam W360x33 | Beam | 1900 |  | 305 |  | 1747.5 | 4 | 6.99
4B24 | Beam W200x27 | Beam | 1900 |  |  |  | 1900 | 7 | 13.3
4B32 | Girts W360x33 | Beam | 8643 |  | 305 | 305 | 8338 | 1 | 8.338
4B29 | Girts W360x33 | Beam | 7816 |  | 305 | 305 | 7511 | 1 | 7.511
4B33 | Beam W360x33 | Beam | 12280 |  |  |  | 12280 | 1 | 12.28 |  | W/ CA
4B27 | Beam W360x33 | Beam | 1900 |  |  |  | 1900 | 1 | 1.9 |  | W/ CA
PM2 | Bracing Angles L76x76x6 | Beam | 17655 |  |  |  | 17655 | 1 | 17.655
3RF1 | Bracing Angles L76x76x6 | Joist | 2032 |  |  |  | 2032 | 2 | 4.064
4RF1 | Bracing Angles L76x76x6 | Joist | 2032 |  |  |  | 2032 | 4 | 8.128
4RF2 | Bracing Angles L76x76x6 | Joist | 1905 |  |  |  | 1905 | 2 | 3.81
4RF3 | Bracing Angles L76x76x6 | Joist | 1905 |  |  |  | 1905 | 2 | 3.81
OWSJ | OWSJ 900mm | OSWJ | 16459 |  |  |  | 16459 | 84 | 1382.556
OWSJ | OWSJ 900mm | OSWJ | 16459 |  | 305 | 254 | 16039.75 | 1 | 16.0398
OWSJ | OWSJ 900mm | OSWJ | 16459 |  | 254 | 254 | 16078 | 6 | 96.468
OWSJ | OWSJ 900mm | OSWJ | 16459 |  | 305 |  | 16230.25 | 4 | 64.921
OWSJ | OWSJ 900mm | OSWJ | 15231 |  | 305 |  | 15002.25 | 2 | 30.0045
OWSJ | OWSJ 900mm | OSWJ | 15231 |  | 254 | 305 | 14811.75 | 1 | 14.8117
OWSJ | OWSJ 900mm | OSWJ | 15231 |  |  | 305 | 15002.25 | 1 | 15.0023
OWSJ | OWSJ 900mm | OSWJ | 15231 |  | 254 |  | 15040.5 | 1 | 15.0405
OWSJ | OWSJ 900mm | OSWJ | 15231 |  |  |  | 15231 | 20 | 304.62
OWSJ | OWSJ 900mm | OSWJ | 16459 |  | 254 | 254 | 16078 | 6 | 96.468
OWSJ | OWSJ 900mm | OSWJ | 16459 |  | 254 | 254 | 16078 | 5 | 80.39
OWSJ | OWSJ 900mm | OSWJ | 16459 |  |  |  | 16459 | 56 | 921.704
OWSJ | OWSJ 900mm | OSWJ | 16459 |  |  |  | 16459 | 10 | 164.59
OWSJ | OWSJ 900mm | OSWJ | 16459 |  |  |  | 16459 | 9 | 148.131
OWSJ | OWSJ 900mm | OSWJ | 15142 |  |  |  | 15142 | 1 | 15.142
OWSJ | OWSJ 900mm | OSWJ | 13711 |  |  | 254 | 13520.5 | 1 | 13.5205
OWSJ | OWSJ 900mm | OSWJ | 1279.5 |  | 254 |  | 1089 | 1 | 1.089
OWSJ | OWSJ 900mm | OSWJ | 10848.3 |  |  |  | 10848.3 | 1 | 10.8483
OWSJ | OWSJ 900mm | OSWJ | 9417 |  |  |  | 9417 | 1 | 9.417
OWSJ | OWSJ 900mm | OSWJ | 7986 |  |  |  | 7986 | 1 | 7.986
OWSJ | OWSJ 900mm | OSWJ | 15857 |  |  |  | 15857 | 1 | 15.857
OWSJ | OWSJ 900mm | OSWJ | 14426 |  |  |  | 14426 | 1 | 14.426
OWSJ | OWSJ 900mm | OSWJ | 12995 |  |  |  | 12995 | 1 | 12.995
OWSJ | OWSJ 900mm | OSWJ | 11564 |  |  |  | 11564 | 1 | 11.564
OWSJ | OWSJ 900mm | OSWJ | 10133 |  |  |  | 10133 | 1 | 10.133
OWSJ | OWSJ 900mm | OSWJ | 8701 |  |  |  | 8701 | 1 | 8.701
OWSJ | OWSJ 900mm | OSWJ | 14163 |  |  |  | 14163 | 1 | 14.163
OWSJ | OWSJ 900mm | OSWJ | 12599 |  |  |  | 12599 | 1 | 12.599
OWSJ | OWSJ 900mm | OSWJ | 11035 |  |  |  | 11035 | 1 | 11.035
OWSJ | OWSJ 900mm | OSWJ | 9470 |  |  |  | 9470 | 1 | 9.47
OWSJ | OWSJ 900mm | OSWJ | 7906 |  |  |  | 7906 | 1 | 7.906
OWSJ | OWSJ 900mm | OSWJ | 16545 |  |  | 305 | 16316.25 | 1 | 16.3163
OWSJ | OWSJ 900mm | OSWJ | 14981 |  |  |  | 14981 | 1 | 14.981
OWSJ | OWSJ 900mm | OSWJ | 13416 |  |  |  | 13416 | 1 | 13.416
OWSJ | OWSJ 900mm | OSWJ | 11852 |  |  |  | 11852 | 1 | 11.852
OWSJ | OWSJ 900mm | OSWJ | 10288 |  |  |  | 10288 | 1 | 10.288
1HG2 | Girts HSS 203x203x6 | Girts | 5163 |  | 305 | 305 | 4858 | 4 | 19.432
1HG1 | Girts HSS 203x203x6 | Girts | 3955 |  | 305 | 305 | 3650 | 4 | 14.6
1HG4 | Girts HSS 203x203x6 | Girts | 5361 |  | 305 | 305 | 5056 | 4 | 20.224
1HG3 | Girts HSS 203x203x6 | Girts | 6640 |  | 305 | 305 | 6335 | 4 | 25.34
2D4 | X Bracing HSS 203x203x6 | V Bracing | 8021.1087 |  | 305 | 305 | 7716.1087 | 1 | 7.7161
2D5 | X Bracing HSS 203x203x6 | V Bracing | 8021.1087 |  | 305 | 305 | 7716.1087 | 1 | 7.7161
2D6 | X Bracing HSS 203x203x6 | V Bracing | 8021.1087 |  | 305 | 305 | 7716.1087 | 1 | 7.7161
2D1 | X Bracing HSS 203x203x6 | V Bracing | 8021.1087 |  | 305 | 305 | 7716.1087 | 1 | 7.7161
2D3 | X Bracing HSS 203x203x6 | V Bracing | 9848.9086 |  | 305 | 305 | 9543.9086 | 1 | 9.5439
2D8 | X Bracing HSS 203x203x6 | V Bracing | 9848.9086 |  | 305 | 305 | 9543.9086 | 1 | 9.5439
2D7 | X Bracing HSS 203x203x6 | V Bracing | 9848.073 |  | 305 | 305 | 9543.073 | 1 | 9.5431
2D2 | X Bracing HSS 203x203x6 | V Bracing | 9848.073 |  | 305 | 305 | 9543.073 | 1 | 9.5431
4HG7 | Girts HSS 203x203x6 | Girts | 4723 |  | 305 | 305 | 4418 | 2 | 8.836
4HG10 | Girts HSS 203x203x6 | Girts | 5364 |  | 305 | 305 | 5059 | 2 | 10.118
4HG8 | Girts HSS 203x203x6 | Girts | 2381 |  | 305 | 305 | 2076 | 2 | 4.152
4H69 | Girts HSS 203x203x6 | Girts | 2763 |  | 305 | 305 | 2458 | 2 | 4.916
4D2 | X Bracing HSS 254x254x13 | V Bracing | 13594.3113 |  | 305 | 305 | 13289.3113 | 1 | 13.2893
3D9 | X Bracing HSS 254x254x13 | V Bracing | 13594.3113 |  | 305 | 305 | 13289.3113 | 1 | 13.2893
4HG1 | Girts HSS 203x203x6 | Girts | 4666 |  | 305 | 305 | 4361 | 2 | 8.722
4HG3 | Girts HSS 203x203x10 | Girts | 8166 |  | 305 | 305 | 7861 | 2 | 15.722
4HG4 | Girts HSS 203x203x13 | Girts | 8169 |  | 305 | 305 | 7864 | 2 | 15.728
4HG2 | Girts HSS 203x203x10 | Girts | 8462 |  | 305 | 305 | 8157 | 2 | 16.314
4HG5 | Girts HSS 203x203x10 | Girts | 7816 |  | 305 | 305 | 7511 | 2 | 15.022
4D3 | Column HSS 254x254x13 | V Bracing | 8381.7483 |  | 305 | 305 | 8076.7483 | 1 | 8.0767
4D1 | Column HSS 254x254x13 | V Bracing | 8381.7483 |  | 305 | 305 | 8076.7483 | 1 | 8.0767
4HG6 | Girts HSS 203x203x6 | Girts | 5498 |  | 305 | 305 | 5193 | 2 | 10.386
3D8 | X Bracing HSS 203x203x6 | V Bracing | 8150.4181 |  | 305 | 305 | 7845.4181 | 1 | 7.8454
3D4 | X Bracing HSS 203x203x6 | V Bracing | 8150.4181 |  | 305 | 305 | 7845.4181 | 1 | 7.8454
3D1 | X Bracing HSS 203x203x6 | V Bracing | 8150.4181 |  | 305 | 305 | 7845.4181 | 1 | 7.8454
3D7 | X Bracing HSS 203x203x6 | V Bracing | 8150.4181 |  | 305 | 305 | 7845.4181 | 1 | 7.8454
3D6 | X Bracing HSS 203x203x6 | V Bracing | 7979.8531 |  | 305 | 305 | 7674.8531 | 1 | 7.6749
3D2 | X Bracing HSS 203x203x6 | V Bracing | 7979.8531 |  | 305 | 305 | 7674.8531 | 1 | 7.6749
3D3 | X Bracing HSS 203x203x6 | V Bracing | 7979.1181 |  | 305 | 254 | 7699.6181 | 1 | 7.6996
3D5 | X Bracing HSS 203x203x6 | V Bracing | 7979.1181 |  | 305 | 254 | 7699.6181 | 1 | 7.6996
2B9 | Beam W200x27 | Joist | 6342 |  |  |  | 6342 | 1 | 6.342
2B7 | Beam W200x27 | Joist | 4778 |  |  |  | 4778 | 1 | 4.778
2B8 | Beam W200x27 | Joist | 3214 |  |  |  | 3214 | 1 | 3.214
2B10 | Beam W200x27 | Joist | 1650 |  |  |  | 1650 | 1 | 1.65
1B19 | Beam W200x27 | Joist | 6654 |  |  |  | 6654 | 1 | 6.654
1B20 | Beam W200x27 | Joist | 5123 |  |  |  | 5123 | 1 | 5.123
1B21 | Beam W200x27 | Joist | 3692 |  |  |  | 3692 | 1 | 3.692
1B22 | Beam W200x27 | Joist | 2261 |  |  |  | 2261 | 1 | 2.261
1B23 | Beam W200x27 | Joist | 830 |  |  |  | 830 | 1 | 0.83
1M15 | Bracing Angles L76x76x6 | H Bracing | 2694.0768 |  | 305 |  | 2541.5768 | 5 | 12.7079
1M5 | Bracing Angles L76x76x6 | H Bracing | 2694.0768 |  | 305 |  | 2541.5768 | 6 | 15.2495
1M3 | Bracing Angles L76x76x6 | H Bracing | 1982.2535 |  | 305 |  | 1829.7535 | 1 | 1.8298
1M14 | Bracing Angles L76x76x6 | H Bracing | 2745.8207 |  | 305 |  | 2593.3207 | 1 | 2.5933
1M12 | Bracing Angles L76x76x6 | H Bracing | 1982.2535 |  | 305 |  | 1829.7535 | 1 | 1.8298
2M6 | Bracing Angles L76x76x6 | H Bracing | 2694.0768 |  | 305 |  | 2541.5768 | 3 | 7.6247
2M9 | Bracing Angles L76x76x6 | H Bracing | 2694.0768 |  | 305 |  | 2541.5768 | 3 | 7.6247
2M1 | Bracing Angles L76x76x6 | H Bracing | 1905 |  |  |  | 1905 | 1 | 1.905
2M7 | Bracing Angles L76x76x6 | H Bracing | 2129.8547 |  | 305 |  | 1977.3547 | 1 | 1.9774
2M4 | Bracing Angles L76x76x6 | H Bracing | 2129.8547 |  | 305 |  | 1977.3547 | 1 | 1.9774
2M2 | Bracing Angles L76x76x6 | H Bracing | 1905 |  |  |  | 1905 | 1 | 1.905
2M10 | Bracing Angles L76x76x6 | H Bracing | 2438.3414 |  | 305 |  | 2285.8414 | 1 | 2.2858
2M6 | Bracing Angles L76x76x6 | H Bracing | 1943.1197 |  | 305 |  | 1790.6197 | 1 | 1.7906
2M1 | Bracing Angles L76x76x6 | H Bracing | 1905 |  |  |  | 1905 | 1 | 1.905
2M8 | Bracing Angles L76x76x6 | H Bracing | 2129.8547 |  | 305 |  | 1977.3547 | 1 | 1.9774
2M3 | Bracing Angles L76x76x6 | H Bracing | 2129.8547 |  | 305 |  | 1977.3547 | 1 | 1.9774
4M2 | Bracing Angles L76x76x6 | H Bracing | 1905 |  |  |  | 1905 | 1 | 1.905
4M13 | Bracing Angles L76x76x6 | H Bracing | 1998.4597 |  | 305 |  | 1845.9597 | 1 | 1.846
4M10 | Bracing Angles L76x76x6 | H Bracing | 2306.865 |  | 305 |  | 2154.365 | 1 | 2.1544
4M2 | Bracing Angles L76x76x6 | H Bracing | 1905 |  |  |  | 1905 | 1 | 1.905
4M11 | Bracing Angles L76x76x6 | H Bracing | 2451.5044 |  | 305 |  | 2299.0044 | 1 | 2.299
4M7 | Bracing Angles L76x76x6 | H Bracing | 1939.0897 |  | 305 |  | 1786.5897 | 1 | 1.7866
4M2 | Bracing Angles L76x76x6 | H Bracing | 1905 |  |  |  | 1905 | 1 | 1.905
4M4 | Bracing Angles L76x76x6 | H Bracing | 2129.8547 |  | 305 |  | 1977.3547 | 1 | 1.9774
4M6 | Bracing Angles L76x76x6 | H Bracing | 2129.8547 |  | 305 |  | 1977.3547 | 1 | 1.9774
4M1 | Bracing Angles L76x76x6 | H Bracing | 1766 |  |  |  | 1766 | 1 | 1.766
4M9 | Bracing Angles L76x76x6 | H Bracing | 1850.2594 |  | 305 |  | 1697.7594 | 1 | 1.6978
4M5 | Bracing Angles L76x76x6 | H Bracing | 2143.024 |  | 305 |  | 1990.524 | 1 | 1.9905
4M15 | Bracing Angles L76x76x6 | H Bracing | 2592.2535 |  | 305 |  | 2439.7535 | 1 | 2.4398
4M12 | Bracing Angles L76x76x6 | H Bracing | 2185.6759 |  | 305 |  | 2033.1759 | 1 | 2.0332
4M3 | Bracing Angles L76x76x6 | H Bracing | 2185.6759 |  | 305 |  | 2033.1759 | 1 | 2.0332
4M14 | Bracing Angles L76x76x6 | H Bracing | 2592.2535 |  | 305 |  | 2439.7535 | 1 | 2.4398
4M15 | Bracing Angles L76x76x6 | H Bracing | 2592.2535 |  | 305 |  | 2439.7535 | 1 | 2.4398
4M17 | Bracing Angles L76x76x6 | H Bracing | 2592.2535 |  | 305 |  | 2439.7535 | 1 | 2.4398
PM1 | Continuous Angle L127x76x10 | Cont. Angle | 415322 |  |  |  | 415322 | 1 | 415.322

## 03 31 00 Structural Concrete
Calculation | [11 empty] | 03 31 00 Concrete Supply |  |  |  | Items | Qty | Unit | Unit Rate | Total Cost | Unit Rate | Total Cost
25 MPA - Interior Augured Footings | [11 empty] | 25 MPA - Footing | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 3.7017 | m3 | 25MPa Concrete in Footing | 710.04 | m3 | 107 | 75974.28 | 112 | 79524.48
| Footing Dimension (mm) |  |  | NOS | Total Vol. (m3) | Drawing No. | [5 empty] | 25 MPA - Foundation Walls | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 5.7769 | m3 | 25MPa Concrete in Foundation | 77.42 | m3 | 116 | 8980.72 | 117 | 9058.14
MARK | Diameter | Area(mm2) | Depth | [8 empty] | 25 MPA - Interior Augured Footings | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 129.4614 | m3 | 25MPa Concrete in SOG | 1235.3 | m3 | 127 | 156883.1 | 122 | 150706.6
F1 | 2440 | 4673576 | 1400 | 7 | 45.801 | S3.1 | [5 empty] | 25 MPA - Slabs | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 1235.3 | m3 | Environmental Cost, Fuel Surcharge & Carbon Tax | 2022.76 | m3 | 8.65 | 17496.874 | 9 | 18204.84
F2 | 2130 | 3561466.5 | 1400 | 7 | 34.9024 | S3.1 | [5 empty] | 25 MPA with air - Perimeter Augured Footings | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 431.0367 | m3 | Steel Fibres 15kg/m3 | 18529.56 | kg | 5.67 | 105062.6052 | 5.33 | 98762.5548
F3 | 2440 | 4673576 | 1400 | 5 | 32.715 | S3.1 | [5 empty] | 25 MPA with air - Foundation Walls | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 71.6418 | m3 | High Range Super Plasticizer (Required with Steel Fibres) | 1235.3 | m3 | 30 | 37059 | 22 | 27176.6
F4 | 2130 | 3561466.5 | 1200 | 1 | 4.2738 | S3.1 | [5 empty] | 25 MPA with air - Trench Footing | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 138.0154 | m3
Total Volume |  |  |  |  | 117.6922 | [6 empty] | 25 MPA with air - Piers | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 7.8219 | m3 | TOTAL |  |  |  | 401456.5792 |  | 383433.2148
Total Volume of Concrete + 10% for waste factor |  |  |  |  | 129.4614 | [6 empty] | Environmental Cost, Fuel Surcharge & Carbon Tax | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" | 2022.7558 | m3
[12 empty] | Steel Fibres 15kg/m3 | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" |  | kg
25 MPA with air - Perimeter Augured Footings | [11 empty] | High Range Super Plasticizer (Required with Steel Fibres) | To be priced from "Annex D - Concrete Supply Rates" in parallel with "Annex E - Concrete Tender Analysis" |  | m3
| Footing Dimension (mm) |  |  | NOS | Total Vol. (m3) | Drawing No.
MARK | Diameter | Area(mm2) | Depth
F1 | 2440 | 4673576 | 1400 | 5 | 32.715 | S3.1
F1(a) | 2440 | 4673576 | 2000 | 2 | 18.6943 | S2.2
F1(B) | 2440 | 4673576 | 3700 | 2 | 34.5845 | S2.2
F2 | 2130 | 3561466.5 | 1400 | 7 | 34.9024 | S3.1
F3 | 2440 | 4673576 | 1400 | 3 | 19.629 | S3.1
F3(a) | 2440 | 4673576 | 2500 | 5 | 58.4197 | S2.2
F4 | 2130 | 3561466.5 | 1200 | 20 | 85.4752 | S3.1 |  | Notes: Exterior Concrete (with air)
F5 | 1830 | 2628886.5 | 1200 | 7 | 22.0826 | S3.1
F6 | 1675 | 2202415.625 | 1200 | 4 | 10.5716 | S3.1
F7 | 2440 | 4673576 | 8000 | 2 | 74.7772 | S3.1
F8 | 0 | 0 | 1900 | 0 | 0 | S3.1
Total Volume |  |  |  |  | 391.8515
Total Volume of Concrete + 10% for waste factor |  |  |  |  | 431.0367
25 MPA with air - Piers
| Pier Dimensions (mm) |  |  | Qty | Total Vol. (m3) | Drawing No.
| L | W | H
PEDESTAL
PIER1 | 800 | 800 | 1050 | 8 | 5.376 | S3.1
PIER2 | 650 | 650 | 1050 | 5 | 2.2181 | S3.1
7.5941
Total Volume of Concrete + 3% for waste factor |  |  |  |  | 7.8219
25 MPA - Foundation Walls
Exterior |  |  | Interior
Mark | Grid | Ext. Wall Length | Mark | Grid | Int. Wall Length
North Wall | Along Grid A | 50898 | Sprinkler/Elect
South Wall | Along Grid J | 30405 | East Wall |  | 5406
East Wall | Along Grid 6 | 82767 | South Wall |  | 11325
West Wall | Along Grid 1 & 2 | 131244 | West Wall |  | 5406
North-East Wall | Along Grid Y | 36525 | Partition |  | 5406
South-East Wall | Along Grid X | 43032
Recess | Along Grid A & B | 28928
Total Length |  | 403799 | Total Length |  | 27543
Less | =400x4 | 1600 | Add | =100x5 | 500
PCL |  | 402199 | PCL |  | 28043
25 MPA - Footing
Mark | Qty | PCL | Width | Thickness | Total Volume | Dwg. No.
Cont. Strip Ftg | 1 | 28043 | 600 | 200 | 3.3652 | S1.0
Total Volume of Concrete + 10% for waste factor |  |  |  |  | 3.7017
25 MPA - Foundation Walls
Mark | Qty | PCL | Width | Thickness | Total Volume | Dwg. No.
Fdn Wall | 1 | 28043 | 200 | 1000 | 5.6086 | S1.0
Total Volume of Concrete + 3% for waste factor |  |  |  |  | 5.7769
25 MPA with air - Trench Footing
Mark | Qty | PCL | Width | Thickness | Total Volume | Dwg. No.
900x500 Grade Beam | 1 | 402199 | 500 | 900 | 180.9896 | S1.0
LESS
F1 | 5 | 2440 | 500 | 900 | 5.49
F1(a) | 2 | 2440 | 500 | 900 | 2.196
F1(B) | 2 | 2440 | 500 | 900 | 2.196
F2 | 7 | 2130 | 500 | 900 | 6.7095
F3 | 3 | 2440 | 500 | 900 | 3.294
F3(a) | 5 | 2440 | 500 | 900 | 5.49
F4 | 20 | 2130 | 500 | 900 | 19.17
F5 | 7 | 1830 | 500 | 900 | 5.7645
F6 | 4 | 1675 | 500 | 900 | 3.015
F7 | 2 | 2440 | 500 | 900 | 2.196
F8 | 0 | 0 | 500 | 900 | 0
Total Volume |  |  |  |  | 125.4686
Total Volume of Concrete + 10% for waste factor |  |  |  |  | 138.0154
25 MPA with air - Foundation Walls
Mark | Section Type | Qty | PCL | Width | T.O.S. | F.G.L. | Slab Thk | Total Height | Total Volume | Dwg. No. | Remarks
| Section 1 | 1 | 302182 | 230 | 211.58 | 211.56 | 152 | 0.32 | 22.2406 | Section 1 S3.0 | since the FGL ranges from 211.53 to 211.58, use 211.56
| Section 2 | 1 | 18850 | 230 | 211.58 | 211.56 | 152 | 0.168 | 0.72836 | Section 2 S3.0
| Section 4 | 12 | 2160 | 230 | 211.58 | 210.38 | 152 | 0.842 | 5.0197 | Section 4 S3.0, Section 5 A8.4
| Dock West Wall | 12 | 2620 | 375 |  |  | 150 | 0.67 | 7.8993 | Section 4 S3.0, Section 5 & 7 A8.4
| Dock North and South Wall | 24 | 2234 | 230 | 211.58 |  | 150 | 0.664 | 8.1882 | Section 4 S3.0, Section 5 & 7 A8.4
| Section 5 | 1 | 80607 | 230 | 211.58 | 210.38 | 152 | 1.5 | 27.8094 | Section 5 S3.0
LESS
| PIER1 | 8 | 800 | 230 |  |  |  | 1.05 | 1.5456
| PIER2 | 5 | 650 | 230 |  |  |  | 1.05 | 0.78487
Total | [8 empty] | 69.5551
Total Volume of Concrete + 3% for waste factor | [8 empty] | 71.6418

## Sheet2 (hidden)
%
% Furn.
% total
% Vol.
%(dup)
****
9 holes
acre
All
bag
Bag(dup)
bdft
Bm3
Car
Carton
Coil
Contrct
Costs
Court
Cu Meter
cuft
cy
Day
days
Door
Drum
ea
Ea.
Em3
Face
Fixture
Flight
Floor
ft
gal
h
h.Pr.
Head
Hectare
Hood
hour
Hr.
in
Jack
Job
Joint
k
K.A.H.
KEG/C
kg
kg(dup)
kL
km
Km2
kVA
kW
L.S.
Lane
lb
lds
Leaf
lf
liter
Lm3
lnm
lnyd
lsum
m
m Hdr
m Nose
m Riser
m Rsr
m(dup)
m2
m2 Face
m2 Flr.
m2 Hor.
m2 Pool
m2 Roof
m2 Shlf
m2 Stg.
m2 Surf
m2 Wall
m2(dup)
m2CA
m3
m3(dup)
m3/mn
m3/s
mbft
MBH
Met. Ton
Meter
ml
mm
Month
Move
Msf
MSM
mton
MVA
MVAR
Name
None
Opng.
Outlet
Pair
Payroll
Person
Pint
Plane
Point
Pr.
Project
Riser
Roll
Room
Seat
Section
Set
sf
sfca
Shade
Signal
Slip
smca
Speaker
Sq Meter
sqyd
Stall
Station
Stop
Story
Student
System
Ton(M)
Total
Tread
Truss
tube
U.I.
Unit
unit(dup)
Value
W.Wire
week
Week(dup)
yes-no

## 03 11 00 Concrete Forming
Code | Description | Unit | # of Element | Length | Width | Depth | Quantity
03 11 00 | Concrete Forming
03 11 13 | Formwork
Strip Footing
| Outer Perimeter [2 x (5406+400) + 6959 + 4166 + (5 x 200)]/1000 = 23.737m | sf | 1 | 23.737 |  | 0.2 | 51.02
| Interior Permeter = [4 x (5406 - 200) + 4166 – 400 + 6959 - 400] / 1000 = 31.149m | sf | 1 | 31.149 |  | 0.2 | 66.95
118.15
Piers
| P1 | sf | 8 | 3.2 |  | 1.05 | 289.33
| P2 | sf | 5 | 2.6 |  | 1.05 | 146.92
436.26
Foundation Wall Standard
| West Elevation-Interior Perimeter | sf | 1 | 130.784 |  | 1.35 | 1.900.40
| West Elevation-Outer Perimeter | sf | 1 | 131.244 |  | 1.35 | 1907.04
| North, South and East Elevation- Interior Perimeter | sf | 1 | 256.718 |  | 0.3 | 829
| North, South and East Elevation- Outer Perimeter | sf | 1 | 257.408 |  | 0.3 | 831.18
5467.71
03 45 13 | Faced Architectural Precast Concrete
| Insulated Precast Concrete Panel System | sf | 1 | 283.602 |  | 11.288 | 34458.5

## Sheet3
Metal Decking
Description of item | Unit | nos | Length | bredth | Depth | Quatitry | Drawing no
Metal Deck @ main roof | sf | 1 | 91119.47 |  |  | 91119.47 | S2
Metal roof deck @canopies | sf | 1 | 818.767 |  |  | 818.767 | S2
Metal doors and frames
Hallow metal door - 3-2x7-0 | Ea | 9 |  |  |  | 9 | A7.1
Hallow metal Frame- 3-2x7-0 | Ea | 9 |  |  |  | 9 | A7.1
Speciality Doors and frames
Overhead Door 12 x 14' Type SD2 | Ea | 2 |  |  |  | 2 | A7.1
Overhead Door 9 x 10' Type SD1 | Ea | 12 |  |  |  | 12 | A7.1
Entrances,Storefront,and Curtain walls
Aluminium Entrance Door (Double door) w/ tempered glazing & hardware | Ea | 4 |  |  |  | 4 | A7.1
Hardware
Door harware
Hinges per door | Ea | 3 |  |  |  | 27 | A7.1
Door stop W1276 CCS | Ea | 9 |  |  |  | 9 | A7.2
Thershold 200D | Ea | 13 |  |  |  | 13 | A7.2
Standard Door Closer -8581 BF | Ea | 9 |  |  |  | 9 | A7.2
Door shoe 216DV | Ea | 9 |  |  |  | 9 | A7.2
Door seals S88 | Ea | 9 |  |  |  | 9 | A7.2
Latch guard LP2 | Ea | 9 |  |  |  | 9 | A7.2